## 2000
WATER YEAR 2000
YOM RIVER BASIN
Nam Pi at Ban Mang , Phayao ( Y.24 )
| Location |  | Lat.18ฐ- 53ข- 04ฒN., Long.100ฐ- 17ข- 24ฒE., on right bank upstream of the bridge
of Pong Sanuk - Chiang Muan Road, Ban Mang, Amphoe Chiang Muan, Phayao.
| Drainage Area |  |  |  |  | 597 sq. km.
| Method of Sampling |  |  |  |  | Depth Integrating
| Instrument Used |  |  |  |  | US.D - 49
| Period of Available Records |  |  |  |  | 1997 - Cont' d
| Actual Measurement |  |  |  |  | 1997 - Cont' d
| Using Rating Curve Water Year |  |  |  |  | 2000
| Number of observation |  |  |  |  | 33
| R - Square |  |  |  |  | 0.9449
| Remarks |  |  |  |  | Continued Sediment Station
QS = 5.8630 QW1.32240
WATER YEAR - 2000
SUSPENDED SEDIMENT, IN TONS PER DAY, WATER YEAR APRIL 1, 2000 TO MARCH 31, 2001
DATE | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | ANNUAL
1 | 0.04 | 41.04 | 71.39 | 10.92 | 29.88 | 58.16 | 126.44 | 74.11 | 10.02 | 1.09 | 0.46 | 0.09
2 | 0.04 | 2.98 | 76.86 | 10.92 | 36.47 | 50.56 | 71.39 | 50.56 | 9.15 | 1.09 | 0.46 | 0.08
3 | 0.04 | 18.87 | 110.31 | 10.92 | 25.91 | 60.76 | 55.6 | 41.04 | 9.15 | 1.09 | 0.46 | 0.07
4 | 0.04 | 10.02 | 71.39 | 10.92 | 248.47 | 58.16 | 63.37 | 36.47 | 8.29 | 1.09 | 0.46 | 0.06
5 | 0.03 | 6.65 | 58.16 | 172.84 | 123.17 | 63.37 | 63.37 | 32.04 | 8.29 | 1.09 | 0.46 | 0.05
6 | 0.03 | 85.69 | 41.04 | 32.04 | 76.86 | 50.56 | 230.08 | 29.88 | 7.46 | 0.89 | 0.32 | 0.03
7 | 0.03 | 36.47 | 34.24 | 25.91 | 43.38 | 41.04 | 207.6 | 25.91 | 5.86 | 0.89 | 0.25 | 0.03
8 | 0.03 | 24.1 | 27.75 | 18.87 | 15.56 | 243.84 | 85.69 | 24.1 | 5.86 | 0.7 | 0.39 | 0.03
9 | 0.03 | 18.87 | 25.91 | 12.42 | 172.84 | 194.38 | 76.86 | 22.32 | 5.1 | 0.7 | 0.39 | 123.17
10 | 0.03 | 7.46 | 24.1 | 15.56 | 225.54 | 97.81 | 104.02 | 20.57 | 4.36 | 0.62 | 0.46 | 32.04
11 | 0.03 | 9.15 | 20.57 | 10.92 | 97.81 | 133.04 | 97.81 | 18.87 | 4.36 | 0.54 | 0.46 | 10.92
12 | 0.03 | 164.4 | 18.87 | 10.92 | 133.04 | 88.68 | 91.7 | 17.19 | 2.72 | 0.54 | 0.7 | 36.47
13 | 41.04 | 104.02 | 13.97 | 221.02 | 85.69 | 638.34 | 82.72 | 17.19 | 2.47 | 0.54 | 0.7 | 25.91
14 | 10.92 | 74.11 | 10.92 | 113.5 | 74.11 | 388.57 | 58.16 | 15.56 | 1.98 | 0.62 | 0.32 | 18.87
15 | 7.46 | 82.72 | 10.92 | 82.72 | 50.56 | 307.02 | 45.74 | 18.87 | 1.75 | 0.89 | 0.32 | 10.92
16 | 5.1 | 119.93 | 10.02 | 66.02 | 55.6 | 177.1 | 63.37 | 17.19 | 2.22 | 2.47 | 0.32 | 5.1
17 | 3.66 | 107.15 | 9.15 | 43.38 | 38.74 | 126.44 | 50.56 | 17.19 | 2.22 | 5.1 | 0.39 | 2.47
18 | 2.98 | 55.6 | 8.29 | 34.24 | 32.04 | 74.11 | 55.6 | 17.19 | 2.22 | 2.72 | 0.03 | 2.47
19 | 2.72 | 48.14 | 8.29 | 27.75 | 29.88 | 60.76 | 53.07 | 13.97 | 1.98 | 1.75 | 0.04 | 1.75
20 | 2.22 | 143.77 | 13.97 | 29.88 | 29.88 | 50.56 | 48.14 | 17.19 | 1.75 | 1.98 | 0.06 | 1.52
21 | 2.22 | 552.26 | 45.74 | 20.57 | 34.24 | 48.14 | 45.74 | 15.56 | 1.52 | 2.22 | 0.07 | 1.3
22 | 3.66 | 172.84 | 38.74 | 13.97 | 32.04 | 50.56 | 43.38 | 15.56 | 1.52 | 1.98 | 0.07 | 1.3
23 | 2.98 | 74.11 | 22.32 | 17.19 | 32.04 | 48.14 | 41.04 | 13.97 | 1.52 | 2.22 | 0.08 | 1.52
24 | 2.47 | 68.69 | 15.56 | 17.19 | 60.76 | 50.56 | 34.24 | 13.97 | 1.3 | 1.75 | 0.07 | 1.52
25 | 2.22 | 53.07 | 10.92 | 66.02 | 225.54 | 88.68 | 34.24 | 12.42 | 0.89 | 0.7 | 0.08 | 1.75
26 | 2.72 | 38.74 | 10.92 | 38.74 | 766.27 | 216.52 | 29.88 | 10.92 | 0.89 | 0.46 | 0.08 | 1.75
27 | 156.07 | 27.75 | 10.92 | 27.75 | 412.02 | 94.74 | 27.75 | 10.02 | 0.89 | 0.46 | 0.08 | 1.75
28 | 41.04 | 22.32 | 7.46 | 24.1 | 243.84 | 88.68 | 25.91 | 9.15 | 1.09 | 0.46 | 0.08 | 2.47
29 | 10.92 | 20.57 | 7.46 | 32.04 | 234.65 | 60.76 | 151.94 | 10.02 | 1.09 | 0.54 |  | 1.75
30 | 216.52 | 79.77 | 7.46 | 91.7 | 100.9 | 60.76 | 143.77 | 10.02 | 1.09 | 0.54 |  | 1.75
31 | MAY: 110.31; JUL: 45.74; AUG: 82.72; OCT: 88.68; DEC: 1.09; JAN: 0.46; MAR: 1.75
TOTAL | 517.32 | 2381.57 | 843.62 | 1356.68 | 3850.45 | 3770.8 | 2397.86 | 649.02 | 110.1 | 38.19 | 8.06 | 290.66 | 16214.33 | TONDAY
MEAN | 17.244 | 76.8248 | 28.1207 | 43.7639 | 124.2081 | 125.6933 | 77.3503 | 21.634 | 3.5516 | 1.2319 | 0.28786 | 9.3761 | 44.42 | TON/DAY
MAX | 216.52 | 552.26 | 110.31 | 221.02 | 766.27 | 638.34 | 230.08 | 74.11 | 10.02 | 5.1 | 0.7 | 123.17 | 766.27 | TON/DAY
MIN | 0.03 | 2.98 | 7.46 | 10.92 | 15.56 | 41.04 | 25.91 | 9.15 | 0.89 | 0.46 | 0.03 | 0.03 | 0.03 | TON/DAY
Stop - Program terminated.

## 2001
WATER YEAR 2001
YOM RIVER BASIN
Nam Pi at Ban Mang , Phayao ( Y.24 )
| Location |  | Lat.18ฐ- 53ข- 04ฒN., Long.100ฐ- 17ข- 24ฒE., on right bank upstream of the bridge
of Pong Sanuk - Chiang Muan Road, Ban Mang, Amphoe Chiang Muan, Phayao.
| Drainage Area |  |  |  |  | 597 sq. km.
| Method of Sampling |  |  |  |  | Depth Integrating
| Instrument Used |  |  |  |  | US.D - 49
| Period of Available Records |  |  |  |  | 1997 - Cont' d
| Actual Measurement |  |  |  |  | 1997 - Cont' d
| Using Rating Curve Water Year |  |  |  |  | 2001
| Number of observation |  |  |  |  | 43
| R - Square |  |  |  |  | 0.9535
| Remarks |  |  |  |  | Continued Sediment Station
QS = 3.6995 QW1.51020
WATER YEAR - 2001
SUSPENDED SEDIMENT, IN TONS PER DAY, WATER YEAR APRIL 1, 2001 TO MARCH 31, 2002
DATE | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | ANNUAL
1 | 1.8412 | 0.27762 | 4.0975 | 24.9602 | 537.9718 | 259.8301 | 37.1933 | 37.1933 | 10.1427 | 2.8431 | 1.0342 | 0
2 | 1.4998 | 0.27762 | 3.6995 | 27.6697 | 288.5371 | 187.5974 | 30.5859 | 30.5859 | 10.1427 | 2.8431 | 0.69343 | 0
3 | 1.4998 | 2.1588 | 2.493 | 24.9602 | 2098.7167 | 143.0848 | 47.8905 | 22.2441 | 9.215 | 2.8431 | 0.69343 | 0
4 | 0.9272 | 2.1588 | 350.4768 | 20.9263 | 1802.6338 | 4321.8627 | 42.4278 | 18.4696 | 9.215 | 3.3155 | 0.85809 | 0
5 | 0.9272 | 2.1588 | 50.0296 | 17.2336 | 1976.2234 | 1499.1547 | 46.0448 | 17.2336 | 8.3915 | 3.3155 | 0.32551 | 0
6 | 0.9272 | 1.4998 | 38.9122 | 14.0534 | 2566.907 | 725.4497 | 42.4278 | 40.6572 | 8.3915 | 2.8431 | 0.27762 | 0
7 | 0.9272 | 1.2211 | 46.0448 | 12.0027 | 1745.9787 | 583.0554 | 38.9122 | 35.5007 | 7.5232 | 2.3478 | 0.32551 | 0
8 | 0.9272 | 0.69343 | 29.1155 | 17.2336 | 806.0002 | 439.7239 | 38.9122 | 32.1966 | 7.5232 | 2.8431 | 0.42868 | 0
9 | 0.9272 | 0.63095 | 20.9263 | 71.4025 | 385.3539 | 303.2674 | 439.7239 | 27.6697 | 7.5232 | 2.8431 | 0.32551 | 0
10 | 0.9272 | 0.63095 | 12.0027 | 54.54 | 238.9764 | 232.1571 | 109.9614 | 23.589 | 7.5232 | 2.8431 | 0.32551 | 0
11 | 0.9272 | 1.8412 | 8.3915 | 32.1966 | 187.5974 | 700.9939 | 66.4505 | 24.9602 | 5.6264 | 2.3478 | 0.16983 | 0
12 | 0.9272 | 1.4998 | 7.5232 | 77.2519 | 7304.5686 | 560.3604 | 61.6201 | 24.9602 | 5.6264 | 1.5412 | 0.1505 | 0
13 | 0.9272 | 1.4998 | 10.1427 | 54.54 | 2067.8604 | 1128.0215 | 47.8905 | 18.4696 | 4.9953 | 1.0342 | 0 | 0
14 | 0.9272 | 5.6264 | 9.215 | 37.1933 | 806.0002 | 820.1636 | 38.9122 | 18.4696 | 3.8684 | 2.8431 | 0 | 0
15 | 0.69343 | 5.6264 | 8.3915 | 66.4505 | 1164.878 | 496.4677 | 38.9122 | 19.7341 | 3.8684 | 1.7537 | 0 | 0
16 | 0.69343 | 45.1312 | 8.3915 | 37.1933 | 863.1508 | 266.9113 | 38.9122 | 20.9263 | 4.3901 | 1.7537 | 0 | 0
17 | 0.69343 | 27.5595 | 7.5232 | 95.7075 | 617.6638 | 172.2422 | 38.9122 | 19.7341 | 4.3901 | 2.8431 | 0 | 0
18 | 0.69343 | 18.5658 | 11.1 | 80.2345 | 341.9335 | 122.1278 | 30.5859 | 20.9263 | 3.3155 | 2.3478 | 0 | 0
19 | 0.63095 | 13.2716 | 6.8934 | 54.54 | 167.3579 | 341.9335 | 27.6697 | 17.2336 | 3.3155 | 2.3478 | 0 | 0
20 | 0.54105 | 11.181 | 4.3901 | 37.1933 | 117.9645 | 266.9113 | 26.3573 | 18.4696 | 3.8684 | 2.3478 | 0 | 0
21 | 0.48377 | 6.484 | 3.3155 | 737.7835 | 117.9645 | 192.6719 | 23.589 | 17.2336 | 4.3901 | 1.9302 | 0 | 0
22 | 0.48377 | 4.0975 | 3.3155 | 848.7394 | 71.4025 | 134.5301 | 20.9263 | 15.119 | 3.3155 | 1.7537 | 0 | 0
23 | 0.402 | 4.0975 | 11.1 | 1452.6769 | 61.6201 | 114.0281 | 16.1187 | 17.2336 | 2.8431 | 1.0342 | 0 | 0
24 | 0.3504 | 4.0975 | 16.1187 | 266.9113 | 59.3228 | 102.1504 | 15.119 | 20.9263 | 2.8431 | 1.0342 | 0 | 0
25 | 0.27762 | 4.0975 | 11.1 | 102.1504 | 59.3228 | 172.2422 | 15.119 | 18.4696 | 2.8431 | 2.3478 | 0 | 0
26 | 0.27762 | 9.215 | 8.3915 | 54.54 | 61.6201 | 157.3361 | 14.0534 | 8.3915 | 2.8431 | 1.9302 | 0 | 0
27 | 0.27762 | 8.2446 | 6.2158 | 52.3367 | 449.019 | 130.4131 | 16.1187 | 12.0027 | 3.8684 | 1.5412 | 0 | 0
28 | 0.2108 | 6.484 | 4.9953 | 44.2238 | 6483.3159 | 54.54 | 98.9112 | 14.0534 | 3.8684 | 1.0342 | 0 | 0
29 | 0.27762 | 9.215 | 4.9953 | 38.9122 | 1109.9358 | 54.54 | 172.2422 | 17.2336 | 2.8431 | 0.85809 |  | 0
30 | 0.27762 | 7.3112 | 12.0027 | 47.8905 | 496.4677 | 46.0448 | 92.5396 | 12.0027 | 2.8431 | 0.5705 |  | 0
31 | MAY: 4.0975; JUL: 71.4025; AUG: 333.4617; OCT: 52.3367; DEC: 3.3155; JAN: 1.0342; MAR: 0
TOTAL | 22.3047 | 210.9521 | 721.31 | 4575.0501 | 35389.727 | 14729.8135 | 1827.3763 | 641.889 | 164.6721 | 65.1088 | 5.6078 | 0 | 58353.8113 | TON/DAY
MEAN | 0.74349 | 6.8049 | 24.0437 | 147.5823 | 1141.6041 | 490.9938 | 58.9476 | 21.3963 | 5.312 | 2.1003 | 0.20028 | 0 | 158.3107 | TON/DAY
MAX | 1.8412 | 45.1312 | 350.4768 | 1452.6769 | 7304.5686 | 4321.8627 | 439.7239 | 40.6572 | 10.1427 | 3.3155 | 1.0342 | 0 | 7304.5686 | TON/DAY
MIN | 0.2108 | 0.27762 | 2.493 | 12.0027 | 59.3228 | 46.0448 | 14.0534 | 8.3915 | 2.8431 | 0.5705 | 0 | 0 | 0 | TON/DAY
Stop - Program terminated.

## 2002
WATER YEAR 2002
YOM RIVER BASIN
Nam Pi at Ban Mang , Phayao ( Y.24 )
| Location |  | Lat.18ฐ- 53ข- 04ฒN., Long.100ฐ- 17ข- 24ฒE., on right bank upstream of the bridge
of Pong Sanuk - Chiang Muan Road, Ban Mang, Amphoe Chiang Muan, Phayao.
| Drainage Area |  |  |  |  | 597 sq. km.
| Method of Sampling |  |  |  |  | Depth Integrating
| Instrument Used |  |  |  |  | US.D - 49
| Period of Available Records |  |  |  |  | 1997 - Cont' d
| Actual Measurement |  |  |  |  | 1997 - Cont' d
| Using Rating Curve Water Year |  |  |  |  | 2002
| Number of observation |  |  |  |  | 27
| R - Square |  |  |  |  | 0.839
| Remarks |  |  |  |  | Continued Sediment Station
QS = 4.2029 QW1.2091
WATER YEAR - 2002
SUSPENDED SEDIMENT, IN TONS PER DAY, WATER YEAR APRIL 1, 2002 TO MARCH 31, 2003
DATE | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | ANNUAL
1 | 0.29 | 0.29 | 25.14 | 2.83 | 19.12 | 64.26 | 90.99 | 15.93 | 14.34 | 7.36 | 0.79 | 0.79
2 | 0.29 | 0.29 | 19.12 | 2.83 | 19.12 | 125.54 | 71.16 | 14.34 | 14.34 | 7.36 | 0.32 | 0.64
3 | 0.32 | 0.26 | 15.1 | 3.16 | 19.12 | 112.85 | 64.26 | 16.7 | 12.85 | 7.36 | 1.18 | 0.64
4 | 0.32 | 0.26 | 13.59 | 2.83 | 181.14 | 88.92 | 59.16 | 22.06 | 12.05 | 6.31 | 1.56 | 0.79
5 | 0.26 | 0.32 | 14.34 | 4.25 | 122.8 | 76.67 | 52.57 | 19.12 | 11.32 | 6.31 | 2.13 | 0.64
6 | 0.2 | 0.26 | 15.93 | 4.25 | 49.28 | 237.03 | 49.28 | 17.48 | 9.6 | 6.31 | 2.13 | 0.64
7 | 0.11 | 0.17 | 15.1 | 4.25 | 29.28 | 128.29 | 47.65 | 17.48 | 9.6 | 6.31 | 1.73 | 0.98
8 | 0.09 | 0.17 | 15.1 | 3.85 | 25.14 | 84.8 | 38.83 | 15.1 | 9.02 | 6.31 | 1.73 | 0.32
9 | 0.04 | 0.17 | 17.48 | 3.85 | 22.06 | 857.12 | 31.64 | 15.1 | 9.02 | 6.31 | 1.73 | 0.32
10 | 0.04 | 0.17 | 19.12 | 3.85 | 19.12 | 569.66 | 28.22 | 15.1 | 8.44 | 5.77 | 1.56 | 0.17
11 | 0.23 | 0.2 | 28.22 | 4.98 | 15.1 | 171.54 | 26.18 | 13.59 | 8.44 | 4.98 | 0.79 | 0.2
12 | 0.2 | 0.2 | 34.03 | 4.61 | 12.85 | 168.55 | 21.11 | 12.05 | 7.36 | 4.61 | 1.35 | 0.26
13 | 0.26 | 19.12 | 22.06 | 4.61 | 11.32 | 133.82 | 18.33 | 12.05 | 7.36 | 3.85 | 1.35 | 0.23
14 | 0.26 | 40.11 | 15.93 | 4.25 | 10.72 | 120.07 | 19.12 | 11.32 | 6.31 | 3.16 | 1.35 | 1.18
15 | 0.2 | 20.11 | 14.34 | 3.85 | 9.6 | 112.85 | 16.7 | 11.32 | 6.31 | 3.16 | 1.56 | 6.31
16 | 0.2 | 40.11 | 14.34 | 3.85 | 8.44 | 388.01 | 16.7 | 11.32 | 4.98 | 3.16 | 1.56 | 8.44
17 | 0.17 | 422.27 | 10.72 | 3.85 | 5.77 | 204.57 | 16.7 | 13.59 | 4.61 | 4.61 | 2.45 | 2.83
18 | 0.2 | 76.67 | 10.19 | 3.85 | 19.12 | 187.78 | 16.7 | 13.59 | 4.61 | 4.61 | 1.95 | 2.83
19 | 0.2 | 44.5 | 9.02 | 3.85 | 34.03 | 248.51 | 15.93 | 19.12 | 4.25 | 0.79 | 2.13 | 2.13
20 | 0.17 | 42.9 | 8.44 | 4.61 | 36.38 | 177.83 | 15.93 | 15.1 | 4.25 | 0.46 | 2.13 | 1.95
21 | 0.17 | 25.14 | 7.36 | 6.81 | 24.1 | 171.54 | 15.1 | 13.59 | 3.85 | 0.79 | 0.98 | 1.56
22 | 0.17 | 17.48 | 6.31 | 41.31 | 52.57 | 233.36 | 15.1 | 11.32 | 3.16 | 0.64 | 0.26 | 1.18
23 | 0.29 | 15.1 | 5.4 | 32.8 | 446.07 | 44.5 | 15.1 | 11.32 | 3.16 | 0.64 | 0.26 | 1.18
24 | 0.29 | 10.72 | 4.61 | 18.33 | 299.99 | 204.57 | 103.94 | 15.1 | 3.16 | 0.64 | 0.23 | 6.81
25 | 0.26 | 7.36 | 3.5 | 5.77 | 142.18 | 80.71 | 37.64 | 17.48 | 3.85 | 0.79 | 0.23 | 2.45
26 | 0.26 | 304.68 | 3.16 | 7.36 | 128.29 | 60.85 | 40.11 | 15.1 | 65.97 | 0.79 | 0.26 | 3.16
27 | 0.14 | 576.92 | 3.85 | 8.44 | 52.57 | 41.31 | 36.38 | 24.1 | 41.31 | 0.64 | 0.32 | 2.13
28 | 0.2 | 82.75 | 3.16 | 8.44 | 237.03 | 41.31 | 35.21 | 44.5 | 17.48 | 0.32 | 0.64 | 2.13
29 | 0.29 | 64.26 | 3.85 | 9.02 | 115.1 | 244.4 | 29.28 | 25.14 | 12.05 | 0.64 |  | 1.73
30 | 0.32 | 44.5 | 3.16 | 233.36 | 99.53 | 69.42 | 24.1 | 18.33 | 10.19 | 0.32 |  | 3.5
31 | MAY: 38.83; JUL: 40.11; AUG: 95.16; OCT: 22.06; DEC: 8.44; JAN: 0.32; MAR: 1.73
TOTAL | 6.44 | 1896.29 | 381.67 | 490.01 | 2362.1 | 5450.64 | 1091.18 | 497.44 | 341.68 | 105.63 | 34.66 | 59.85 | 12717.59 | TON/DAY
MEAN | 0.21467 | 61.1706 | 12.7223 | 15.8068 | 76.1968 | 181.688 | 35.1994 | 16.5813 | 11.0219 | 3.4074 | 1.2379 | 1.9306 | 34.84 | TON/DAY
MAX | 0.32 | 576.92 | 34.03 | 233.36 | 446.07 | 857.12 | 103.94 | 44.5 | 65.97 | 7.36 | 2.45 | 8.44 | 857.12 | TON/DAY
MIN | 0.04 | 0.17 | 3.16 | 2.83 | 5.77 | 41.31 | 15.1 | 11.32 | 3.16 | 0.32 | 0.23 | 0.17 | 0.04 | TON/DAY
Stop - Program terminated.

## 2003
WATER YEAR 2003
YOM RIVER BASIN
Nam Pi at Ban Mang , Phayao ( Y.24 )
| Location |  | Lat.18ฐ- 53ข- 04ฒN., Long.100ฐ- 17ข- 24ฒE., on right bank upstream of the bridge
of Pong Sanuk - Chiang Muan Road, Ban Mang, Amphoe Chiang Muan, Phayao.
| Drainage Area |  |  |  |  | 597 sq. km.
| Method of Sampling |  |  |  |  | Depth Integrating
| Instrument Used |  |  |  |  | US.D - 49
| Period of Available Records |  |  |  |  | 1997 - Cont' d
| Actual Measurement |  |  |  |  | 1997 - Cont' d
| Using Rating Curve Water Year |  |  |  |  | 2003
| Number of observation |  |  |  |  | 28
| R - Square |  |  |  |  | 0.9498
| Remarks |  |  |  |  | Continued Sediment Station
QS = 7.3462 QW1.28240
WATER YEAR - 2003
SUSPENDED SEDIMENT, IN TONS PER DAY, WATER YEAR APRIL 1, 2003 TO MARCH 31, 2004
DATE | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | ANNUAL
1 | 3 | 7 | 22 | 16 | 46 | 54 | 219 | 12 | 8 | 1 | 1 | 0
2 | 3 | 7 | 43 | 16 | 33 | 46 | 89 | 12 | 8 | 1 | 1 | 0
3 | 2 | 7 | 56 | 10 | 380 | 43 | 68 | 12 | 8 | 0 | 1 | 0
4 | 2 | 6 | 46 | 18 | 215 | 43 | 59 | 12 | 7 | 0 | 1 | 0
5 | 2 | 5 | 37 | 15 | 77 | 56 | 50 | 11 | 7 | 0 | 1 | 0
6 | 4 | 5 | 22 | 12 | 38 | 813 | 43 | 11 | 7 | 0 | 1 | 0
7 | 3 | 4 | 11 | 6 | 38 | 424 | 40 | 11 | 7 | 0 | 1 | 0
8 | 3 | 3 | 4 | 6 | 37 | 199 | 40 | 11 | 4 | 0 | 1 | 0
9 | 2 | 3 | 2 | 7 | 37 | 176 | 46 | 11 | 2 | 0 | 1 | 0
10 | 3 | 2 | 2 | 7 | 35 | 1104 | 42 | 11 | 1 | 1 | 1 | 0
11 | 2 | 1 | 3 | 10 | 30 | 2153 | 42 | 11 | 2 | 1 | 1 | 0
12 | 2 | 1 | 3 | 10 | 40 | 1558 | 32 | 11 | 2 | 1 | 1 | 0
13 | 2 | 2 | 3 | 33 | 125 | 1268 | 30 | 11 | 1 | 1 | 1 | 0
14 | 2 | 1 | 5 | 56 | 79 | 5030 | 29 | 12 | 2 | 1 | 1 | 0
15 | 2 | 1 | 3 | 42 | 46 | 1185 | 27 | 14 | 2 | 1 | 1 | 0
16 | 2 | 1 | 3 | 30 | 33 | 564 | 27 | 14 | 2 | 1 | 1 | 0
17 | 2 | 1 | 25 | 18 | 247 | 299 | 25 | 12 | 3 | 1 | 1 | 0
18 | 3 | 4 | 19 | 12 | 405 | 262 | 25 | 12 | 3 | 1 | 1 | 0
19 | 3 | 2 | 157 | 10 | 326 | 219 | 25 | 11 | 3 | 1 | 1 | 0
20 | 3 | 2 | 115 | 8 | 698 | 227 | 24 | 11 | 3 | 1 | 1 | 0
21 | 3 | 2 | 79 | 8 | 374 | 150 | 22 | 10 | 3 | 1 | 1 | 0
22 | 3 | 3 | 52 | 6 | 252 | 122 | 19 | 10 | 2 | 1 | 1 | 0
23 | 2 | 3 | 7 | 63 | 176 | 98 | 15 | 10 | 2 | 1 | 1 | 0
24 | 2 | 3 | 4 | 122 | 405 | 89 | 12 | 10 | 2 | 1 | 1 | 0
25 | 2 | 2 | 2 | 42 | 859 | 70 | 9 | 10 | 2 | 1 | 1 | 0
26 | 2 | 4 | 1 | 27 | 195 | 61 | 9 | 9 | 2 | 1 | 1 | 0
27 | 2 | 4 | 1 | 21 | 98 | 54 | 10 | 9 | 2 | 1 | 1 | 0
28 | 2 | 3 | 1 | 16 | 82 | 54 | 11 | 9 | 2 | 1 | 0 | 0
29 | 12 | 3 | 4 | 8 | 56 | 52 | 12 | 8 | 1 | 1 | 0 | 0
30 | 8 | 2 | 8 | 75 | 54 | 176 | 14 | 8 | 1 | 1 |  | 0
31 | MAY: 10; JUL: 65; AUG: 54; OCT: 12; DEC: 1; JAN: 1; MAR: 0
TOTAL | 88 | 104 | 740 | 795 | 5570 | 16649 | 1127 | 326 | 102 | 24 | 27 | 0 | 25552 | TONDAY
MEAN | 2.9333 | 3.3548 | 24.6667 | 25.6452 | 179.6774 | 554.9667 | 36.3548 | 10.8667 | 3.2903 | 0.77419 | 0.93103 | 0 | 70 | TON/DAY
MAX | 12 | 10 | 157 | 122 | 859 | 5030 | 219 | 14 | 8 | 1 | 1 | 0 | 5030 | TON/DAY
MIN | 2 | 1 | 1 | 6 | 30 | 43 | 9 | 8 | 1 | 0 | 0 | 0 | 0 | TON/DAY
Stop - Program terminated.

## 2005
WATER YEAR 2005
YOM RIVER BASIN
Nam Pi at Ban Mang , Phayao ( Y.24 )
| Location |  | Lat.18ฐ- 53ข- 04ฒN., Long.100ฐ- 17ข- 24ฒE., on right bank upstream of the bridge
of Pong Sanuk - Chiang Muan Road, Ban Mang, Amphoe Chiang Muan, Phayao.
| Drainage Area |  |  |  |  | 597 sq. km.
| Method of Sampling |  |  |  |  | Depth Integrating
| Instrument Used |  |  |  |  | US.D - 49
| Period of Available Records |  |  |  |  | 1997 - Cont' d
| Actual Measurement |  |  |  |  | 1997 - Cont' d
| Using Rating Curve Water Year |  |  |  |  | 2004
| Number of observation |  |  |  |  | 27
| R - Square |  |  |  |  | 0.839
| Remarks |  |  |  |  | Continued Sediment Station
QS = 6.1271QW1.3228
WATER YEAR - 2005
SUSPENDED SEDIMENT, IN TONS PER DAY, WATER YEAR APRIL 1, 1997 TO MARCH 31, 2005
DATE | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | ANNUAL
1 | 3.8225 | 4.561 | 10.1079 | 5.0189 | 6.9504 | 600.1604 | 1294.0124 | 25.0562 | 4.561 | 2.3206 | 5.9655 | 7.4562 |  | 0.7 | 0.8 | 1.46 | 0.86 | 1.1 | 32 | 57.2 | 2.9 | 0.8 | 0.48 | 0.98 | 1.16
2 | 3.9677 | 1060.7667 | 9.0238 | 5.0189 | 6.9504 | 239.9191 | 828.1667 | 19.5074 | 4.4108 | 2.0683 | 5.9655 | 7.4562 |  | 0.72 | 49.22 | 1.34 | 0.86 | 1.1 | 16 | 40.82 | 2.4 | 0.78 | 0.44 | 0.98 | 1.16
3 | 3.9677 | 12.9425 | 9.0238 | 4.2618 | 6.9504 | 428.3864 | 249.8865 | 12.3621 | 4.2618 | 1.9449 | 5.9655 | 6.4534 |  | 0.72 | 1.76 | 1.34 | 0.76 | 1.1 | 24.8 | 16.5 | 1.7 | 0.76 | 0.42 | 0.98 | 1.04
4 | 14.1225 | 12.9425 | 7.4562 | 4.2618 | 6.9504 | 522.0828 | 168.5161 | 10.1079 | 4.1141 | 1.4706 | 6.4534 | 6.4534 |  | 1.88 | 1.76 | 1.16 | 0.76 | 1.1 | 28.8 | 12.25 | 1.46 | 0.74 | 0.34 | 1.04 | 1.04
5 | 13.5294 | 10.1079 | 6.9504 | 3.8225 | 6.9504 | 95.9097 | 128.8413 | 13.5294 | 3.9677 | 1.4706 | 6.4534 | 6.4534 |  | 1.82 | 1.46 | 1.1 | 0.7 | 1.1 | 8 | 10 | 1.82 | 0.72 | 0.34 | 1.04 | 1.04
6 | 10.661 | 9.0238 | 6.9504 | 16.3488 | 6.4534 | 631.6169 | 107.98 | 12.9425 | 3.2556 | 1.4706 | 6.9504 | 5.9655 |  | 1.52 | 1.34 | 1.1 | 2.1 | 1.04 | 33.26 | 8.75 | 1.76 | 0.62 | 0.34 | 1.1 | 0.98
7 | 9.0238 | 6.9504 | 239.9191 | 6.9504 | 5.9655 | 215.4433 | 68.459 | 16.3488 | 3.6787 | 1.4706 | 6.9504 | 5.9655 |  | 1.34 | 1.1 | 16 | 1.1 | 0.98 | 14.75 | 6.2 | 2.1 | 0.68 | 0.34 | 1.1 | 0.98
8 | 9.0238 | 6.9504 | 29.7266 | 6.9504 | 5.0189 | 428.3864 | 42.8399 | 14.1225 | 3.5363 | 1.8233 | 6.9504 | 5.9655 |  | 1.34 | 1.1 | 3.3 | 1.1 | 0.86 | 24.8 | 4.35 | 1.88 | 0.66 | 0.4 | 1.1 | 0.98
9 | 9.0238 | 7.4562 | 33.3528 | 5.9655 | 5.0189 | 95.9097 | 38.9759 | 13.5294 | 3.3952 | 1.8233 | 6.9504 | 5.9655 |  | 1.34 | 1.16 | 3.6 | 0.98 | 0.86 | 8 | 4.05 | 1.82 | 0.64 | 0.4 | 1.1 | 0.98
10 | 9.0238 | 7.4562 | 15.327 | 5.4872 | 3.8225 | 63.3941 | 35.2033 | 22.7962 | 3.2556 | 1.7037 | 7.9706 | 5.4872 |  | 1.34 | 1.16 | 2 | 0.92 | 0.7 | 5.85 | 3.75 | 2.7 | 0.62 | 0.38 | 1.22 | 0.92
11 | 9.0238 | 6.9504 | 11.2212 | 4.561 | 3.6787 | 116.2164 | 29.7266 | 16.3488 | 3.1174 | 1.7037 | 7.9706 | 5.4872 |  | 1.34 | 1.1 | 1.58 | 0.8 | 0.68 | 9.25 | 3.3 | 2.1 | 0.6 | 0.38 | 1.22 | 0.92
12 | 9.0238 | 5.9655 | 9.5621 | 4.2618 | 3.6787 | 254.907 | 21.6861 | 16.3488 | 2.9807 | 1.4706 | 7.9706 | 5.4872 |  | 1.34 | 0.98 | 1.4 | 0.76 | 0.68 | 16.75 | 2.6 | 2.1 | 0.58 | 0.34 | 1.22 | 0.92
13 | 9.0238 | 5.9655 | 7.9706 | 4.2618 | 1421.1636 | 150.5634 | 18.4395 | 14.7217 | 2.7118 | 1.3573 | 8.4932 | 5.0189 |  | 1.34 | 0.98 | 1.22 | 0.76 | 61.4 | 11.25 | 2.3 | 1.94 | 0.54 | 0.32 | 1.28 | 0.86
14 | 9.0238 | 4.561 | 6.4534 | 15.327 | 305.3556 | 99.8942 | 18.4395 | 14.7217 | 2.7118 | 1.3573 | 8.4932 | 5.0189 |  | 1.34 | 0.8 | 1.04 | 2 | 19.2 | 8.25 | 2.3 | 1.94 | 0.54 | 0.32 | 1.28 | 0.86
15 | 9.5621 | 4.4108 | 6.4534 | 10.661 | 61.2528 | 54.9391 | 17.3865 | 14.1225 | 2.7118 | 2.0683 | 8.4932 | 4.4108 |  | 1.4 | 0.78 | 1.04 | 1.52 | 5.7 | 5.25 | 2.2 | 1.88 | 0.54 | 0.44 | 1.28 | 0.78
16 | 9.5621 | 7.9706 | 5.9655 | 7.4562 | 31.527 | 38.9759 | 17.3865 | 12.3621 | 4.4108 | 2.8455 | 7.4562 | 4.4108 |  | 1.4 | 1.22 | 0.98 | 1.16 | 3.45 | 4.05 | 2.2 | 1.7 | 0.78 | 0.56 | 1.16 | 0.78
17 | 8.4932 | 7.9706 | 5.4872 | 5.4872 | 19.5074 | 33.3528 | 16.3488 | 12.3621 | 5.4872 | 4.4108 | 6.4534 | 4.2618 |  | 1.28 | 1.22 | 0.92 | 0.92 | 2.4 | 3.6 | 2.1 | 1.7 | 0.92 | 0.78 | 1.04 | 0.76
18 | 11.2212 | 6.9504 | 5.4872 | 4.2618 | 20.5897 | 25.0562 | 16.3488 | 11.2212 | 6.9504 | 4.2618 | 6.4534 | 4.2618 |  | 1.58 | 1.1 | 0.92 | 0.76 | 2.5 | 2.9 | 2.1 | 1.58 | 1.1 | 0.76 | 1.04 | 0.76
19 | 11.2212 | 6.4534 | 4.561 | 5.9655 | 77.3567 | 1024.9955 | 15.327 | 10.661 | 8.4932 | 6.9504 | 6.4534 | 4.1141 |  | 1.58 | 1.04 | 0.8 | 0.98 | 6.8 | 47.96 | 2 | 1.52 | 1.28 | 1.1 | 1.04 | 0.74
20 | 11.2212 | 5.4872 | 4.1141 | 6.9504 | 50.8252 | 850.7846 | 15.327 | 10.1079 | 12.3621 | 8.4932 | 6.4534 | 4.1141 |  | 1.58 | 0.92 | 0.74 | 1.1 | 4.95 | 41.66 | 2 | 1.46 | 1.7 | 1.28 | 1.04 | 0.74
21 | 10.661 | 5.4872 | 4.1141 | 15.327 | 25.0562 | 446.7605 | 14.1225 | 7.9706 | 11.7883 | 8.4932 | 6.9504 | 3.9677 |  | 1.52 | 0.92 | 0.74 | 2 | 2.9 | 25.6 | 1.88 | 1.22 | 1.64 | 1.28 | 1.1 | 0.72
22 | 10.661 | 5.4872 | 4.1141 | 15.327 | 19.5074 | 299.0602 | 12.9425 | 6.9504 | 12.3621 | 7.9706 | 6.9504 | 3.9677 |  | 1.52 | 0.92 | 0.74 | 2 | 2.4 | 18.9 | 1.76 | 1.1 | 1.7 | 1.22 | 1.1 | 0.72
23 | 10.661 | 10.661 | 80.3805 | 74.3614 | 16.3488 | 191.6287 | 12.3621 | 5.9655 | 14.1225 | 7.9706 | 6.9504 | 3.8225 |  | 1.52 | 1.52 | 7 | 6.6 | 2.1 | 13.5 | 1.7 | 0.98 | 1.88 | 1.22 | 1.1 | 0.7
24 | 10.661 | 7.4562 | 29.7266 | 20.5897 | 29.7266 | 112.0797 | 11.7883 | 5.9655 | 15.327 | 5.0189 | 5.9655 | 3.1174 |  | 1.52 | 1.16 | 3.3 | 2.5 | 3.3 | 9 | 1.64 | 0.98 | 2 | 0.86 | 0.98 | 0.6
25 | 9.0238 | 5.4872 | 23.9197 | 12.3621 | 25.0562 | 65.5531 | 11.2212 | 5.9655 | 15.327 | 5.0189 | 6.9504 | 3.1174 |  | 1.34 | 0.92 | 2.8 | 1.7 | 2.9 | 6 | 1.58 | 0.98 | 2 | 0.86 | 1.1 | 0.6
26 | 9.5621 | 5.9655 | 13.5294 | 21.6861 | 1331.8515 | 92.7508 | 10.661 | 5.4872 | 15.327 | 6.4534 | 6.9504 | 3.1174 |  | 1.4 | 0.98 | 1.82 | 2.6 | 58.46 | 7.8 | 1.52 | 0.92 | 2 | 1.04 | 1.1 | 0.6
27 | 61.2528 | 16.3488 | 12.3621 | 13.5294 | 337.3033 | 40.8968 | 10.1079 | 5.4872 | 15.327 | 6.4534 | 6.9504 | 2.9807 |  | 5.7 | 2.1 | 1.7 | 1.82 | 20.7 | 4.2 | 1.46 | 0.92 | 2 | 1.04 | 1.1 | 0.58
28 | 9.5621 | 12.3621 | 11.7883 | 13.5294 | 419.2704 | 2799.2423 | 9.0238 | 5.4872 | 14.7217 | 7.4562 | 6.9504 | 2.9807 |  | 1.4 | 1.7 | 1.64 | 1.82 | 24.4 | 102.5 | 1.34 | 0.92 | 1.94 | 1.16 | 1.1 | 0.58
29 | 6.4534 | 10.661 | 11.7883 | 11.7883 | 95.9097 | 1564.3061 | 9.0238 | 5.4872 | 14.7217 | 6.9504 |  | 2.9807 |  | 1.04 | 1.52 | 1.64 | 1.64 | 8 | 66.02 | 1.34 | 0.92 | 1.94 | 1.1 |  | 0.58
30 | 4.561 | 10.1079 | 11.2212 | 9.5621 | 27.9525 | 1382.714 | 40.8968 | 5.4872 | 14.7217 | 6.4534 |  | 2.9807 |  | 0.8 | 1.46 | 1.58 | 1.4 | 3.15 | 60.14 | 4.2 | 0.92 | 1.94 | 1.04 |  | 0.58
31 | MAY: 7.4562; JUL: 8.4932; AUG: 124.5978; OCT: 27.9525; DEC: 13.5294; JAN: 5.9655; MAR: 2.9807 |  |  | 1.16 |  | 1.28 | 9.75 |  | 3.15 |  | 1.82 | 0.98 |  | 0.58
TOTAL | 326.6012 | 1299.3238 | 638.058 | 349.8359 | 4508.5468 | 12965.886 | 3319.3997 | 353.534 | 247.6498 | 126.6899 | 195.8844 | 146.2212 | 24477.6307 | TON/DAY
MEAN | 10.8867 | 41.9137 | 21.2686 | 11.285 | 145.437 | 432.1962 | 107.0774 | 11.7845 | 7.9887 | 4.0868 | 6.9959 | 4.7168 | 805.6372 | TON/DAY
MAX | 61.2528 | 1060.7667 | 239.9191 | 74.3614 | 1421.1636 | 2799.2423 | 1294.0124 | 25.0562 | 15.327 | 8.4932 | 8.4932 | 7.4562 | 2799.2423 | TON/DAY
MIN | 3.8225 | 4.4108 | 4.1141 | 3.8225 | 3.6787 | 25.0562 | 9.0238 | 5.4872 | 2.7118 | 1.3573 | 5.9655 | 2.9807 | 1.3573 | TON/DAY
Stop - Program terminated.

## 2016
Station - |  | Ban Mang, Chiang Muan, Phayao,Y.24 | [9 empty] | Royal Irrigation
Stream - |  | Mae Nam Pi | [9 empty] | Thailand
River - |  | Yom | [9 empty] | Hydrology Division
River System - |  | Yom | [6 empty] | Log C = | 0.79141 |  | M Value = | 1.263
[9 empty] | ใช้สมการ log C ตั้งแต่ปี |  | 2016 | ถึงปี | 2017 | จ.น ตัวอย่าง | 13 | จุด
[7 empty] | Water Year 2016 | [5 empty] | Unit 0,1 = | 0
Suspended Sediment, in Hundred Tons per Day, Water Year April 1, 2016 to March 31, 2017
| Date | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Annual
| 1 | 1.1286 | 0.073793 | 120.9865 | 229.1457 | 3.245 | 82.55 | 108.5016 | 8.6163 | 22.81 | 35.1803 | 14.0073 | 7.2993
| 2 | 1.1286 | 0.073793 | 63.7454 | 263.2948 | 1.7022 | 79.3469 | 73.0214 | 9.9767 | 35.6297 | 35.1803 | 13.73 | 7.2993
| 3 | 1.02 | 0.073793 | 36.7583 | 69.9004 | 2.1933 | 76.1705 | 263.2948 | 9.2913 | 28.1584 | 34.732 | 13.4539 | 7.2993
| 4 | 0.81023 | 0.65988 | 28.8026 | 79.3469 | 11.6437 | 58.2098 | 152.376 | 9.1216 | 34.732 | 34.285 | 12.9052 | 6.8175
| 5 | 0.65988 | 6.3427 | 21.2831 | 50.8359 | 3.9425 | 50.8359 | 116.7935 | 8.9525 | 37.6665 | 34.285 | 12.6326 | 4.2291
| 6 | 0.65988 | 5.5677 | 10.4973 | 342.4654 | 5.0381 | 58.2098 | 646.6694 | 8.6163 | 37.6665 | 32.0683 | 12.3612 | 4.2291
| 7 | 0.65988 | 4.6667 | 17.7122 | 248.7074 | 3.245 | 100.3396 | 378.8971 | 8.2828 | 37.6665 | 32.0683 | 12.0911 | 3.9425
| 8 | 0.65988 | 2.7085 | 39.0374 | 161.876 | 2.3199 | 308.0578 | 147.6714 | 7.9521 | 35.1803 | 33.3946 | 11.5547 | 4.0853
| 9 | 0.65988 | 2.0681 | 34.732 | 89.034 | 2.3199 | 181.2248 | 85.7792 | 7.7878 | 28.5875 | 33.3946 | 11.0234 | 4.0853
| 10 | 0.65988 | 1.7022 | 23.118 | 100.3396 | 7.2185 | 157.111 | 100.3396 | 7.7878 | 24.9838 | 39.2668 | 10.2363 | 4.0853
| 11 | 0.65988 | 1.5837 | 16.4573 | 58.2098 | 15.222 | 1767.2237 | 100.3396 | 7.6242 | 27.3041 | 36.1931 | 9.7185 | 4.2291
| 12 | 0.65988 | 1.3521 | 11.6437 | 36.7583 | 24.9838 | 1946.5915 | 76.1705 | 8.1171 | 25.2977 | 43.9136 | 9.4617 | 4.2291
| 13 | 0.65988 | 1.1286 | 12.8142 | 30.7533 | 14.0073 | 525.7829 | 55.7288 | 7.4614 | 24.0472 | 46.6333 | 9.7185 | 4.2291
| 14 | 0.65988 | 1.02 | 19.4806 | 30.7533 | 10.4973 | 406.7121 | 34.732 | 7.4614 | 24.6708 | 49.0255 | 9.4617 | 4.2291
| 15 | 0.65988 | 0.81023 | 7.2185 | 16.4573 | 561.4981 | 360.5854 | 24.9838 | 7.7878 | 27.7306 | 43.4441 | 9.1216 | 4.2291
| 16 | 0.65988 | 0.75941 | 5.4152 | 10.4973 | 166.6703 | 278.0525 | 15.222 | 7.9521 | 32.0683 | 40.3029 | 8.1171 | 4.0853
| 17 | 0.65988 | 0.75941 | 30.7533 | 9.3764 | 1323.6365 | 147.6714 | 11.6437 | 7.7878 | 36.6451 | 32.0683 | 7.9521 | 4.0853
| 18 | 0.51638 | 0.75941 | 15.222 | 8.2828 | 992.9267 | 125.21 | 7.2185 | 7.6242 | 39.7266 | 34.285 | 7.7878 | 4.0853
| 19 | 0.33761 | 0.70928 | 14.0073 | 6.186 | 425.4798 | 120.9865 | 5.4152 | 7.4614 | 38.2365 | 32.5092 | 7.7878 | 4.2291
| 20 | 0.51638 | 0.70928 | 55.7288 | 5.798 | 1407.7671 | 100.3396 | 5.4152 | 7.4614 | 36.1931 | 29.883 | 7.6242 | 4.2291
| 21 | 0.33761 | 0.91388 | 125.21 | 4.6667 | 585.5758 | 187.0849 | 5.4152 | 7.2993 | 35.1803 | 29.018 | 10.2363 | 4.0853
| 22 | 0.25469 | 1.2393 | 63.7454 | 2.3199 | 138.3558 | 108.5016 | 5.0381 | 7.4614 | 33.3946 | 26.5612 | 12.0911 | 4.0853
| 23 | 0.14067 | 1.5837 | 39.0374 | 1.2954 | 278.0525 | 100.3396 | 5.0381 | 7.6242 | 29.883 | 23.118 | 9.1216 | 4.0853
| 24 | 0.10612 | 1.9445 | 34.732 | 2.5776 | 192.9834 | 92.3137 | 28.8026 | 9.7185 | 27.7306 | 22.81 | 8.784 | 4.0853
| 25 | 0.10612 | 2.3199 | 69.9004 | 2.1933 | 108.5016 | 397.395 | 17.7122 | 15.6948 | 33.3946 | 22.1966 | 8.2828 | 4.0853
| 26 | 0.10612 | 3.109 | 41.3445 | 1.7022 | 96.3092 | 360.5854 | 9.3764 | 18.2978 | 31.6287 | 21.2831 | 7.2993 | 4.0853
| 27 | 0.073793 | 1.9445 | 41.3445 | 1.1836 | 129.4633 | 120.9865 | 5.798 | 20.3777 | 30.7533 | 19.1834 | 7.1379 | 4.2291
| 28 | 0.073793 | 1.2393 | 39.0374 | 1.2393 | 492.5092 | 79.3469 | 4.0853 | 21.2831 | 30.3175 | 17.7122 | 7.1379 | 4.2291
| 29 | 0.073793 | 0.91388 | 41.3445 | 1.2954 | 235.2957 | 60.713 | 8.9525 | 20.6786 | 30.7533 | 15.1279 |  | 4.2291
| 30 | 0.073793 | 0.75941 | 46.0392 | 1.1836 | 152.376 | 116.7935 | 9.7185 | 20.3777 | 30.3175 | 14.0073 |  | 4.0853
| 31 | May: 73.0214; Jul: 1.1286; Aug: 100.3396; Oct: 8.6163; Dec: 31.6287; Jan: 14.0073; Mar: 4.0853
| Total | 15.3827 | 122.5173 | 1127.149 | 1868.8043 | 7495.3194 | 8555.2717 | 2518.7666 | 311.9373 | 979.9831 | 957.1383 | 280.8378 | 140.601 | 24373.7085 | 100Ton
| Mean | 0.51276 | 3.9522 | 37.5716 | 60.284 | 241.7845 | 285.1757 | 81.2505 | 10.3979 | 31.6124 | 30.8754 | 10.0299 | 4.5355 | 797.9825
| Max | 1.1286 | 73.0214 | 125.21 | 342.4654 | 1407.7671 | 1946.5915 | 646.6694 | 21.2831 | 39.7266 | 49.0255 | 14.0073 | 7.2993 | 1946.5915
| Min | 0.073793 | 0.073793 | 5.4152 | 1.1286 | 1.7022 | 50.8359 | 4.0853 | 7.2993 | 22.81 | 14.0073 | 7.1379 | 3.9425 | 0.073793
Note on J4: ใส่ค่า Log C Value
Note on M4: ใส่ค่า M Value
Note on J5: ใส่ค่า
Note on M5: ใส่ค่า
Note on O5: ใส่ค่า
Note on N6: (blank-tons/day,1-100 tons/day) ใส่ค่า 0, 1

## 2017
Station - |  | Ban Mang, Chiang Muan, Phayao,Y.24 | [9 empty] | Royal Irrigation |  |  |  |  | Y.1C
Stream - |  | Nam Pi | [9 empty] | Thailand |  |  |  |  | 2
River - |  | Yom | [9 empty] | Hydrology Division |  |  |  |  | Y1C
River System - |  | Yom | [6 empty] | Log C = | 0.68494 |  | M Value = | 1.605 |  |  |  | 2017
[9 empty] | ใช้สมการ log C ตั้งแต่ปี |  | 2017 | ถึงปี | 2018 | จ.น ตัวอย่าง | 24 | จุด
[7 empty] | Water Year 2017 | [5 empty] | Unit 0,1 = | 0
Suspended Sediment, in Hundred Tons per Day, Water Year April 1, 2017 to March 31, 2018
| Date | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Annual
| 1 | 0.00908 | 0.14008 | 0.85696 | 1.6948 | 122.8594 | 1167.4447 | 807.9741 | 308.8619 | 1.3921 | 1.5406 | 0.067814 | 14.7261
| 2 | 0.039517 | 0.10151 | 0.52315 | 1.3921 | 96.4447 | 732.878 | 552.1888 | 51.2519 | 1.3921 | 1.0244 | 0.05295 | 11.345
| 3 | 0.039517 | 0.084022 | 0.45762 | 0.89777 | 51.2519 | 569.4304 | 4302.8655 | 51.2519 | 1.0244 | 0.81686 | 0.05295 | 10.0874
| 4 | 0.039517 | 0.05295 | 0.36567 | 0.66387 | 37.8269 | 453.0077 | 2325.0055 | 41.2561 | 0.7775 | 0.73887 | 0.039517 | 8.8863
| 5 | 0.027621 | 0.05295 | 0.30878 | 0.70099 | 28.2302 | 406.2372 | 1213.8621 | 41.2561 | 0.42611 | 0.70099 | 0.039517 | 8.5951
| 6 | 0.027621 | 0.05295 | 0.28171 | 0.59193 | 28.2302 | 938.413 | 1020.6277 | 34.5111 | 0.55714 | 0.70099 | 0.05295 | 7.5589
| 7 | 0.027621 | 0.05295 | 0.45762 | 0.52315 | 80.2051 | 6031.444 | 859.3755 | 34.5111 | 0.59193 | 0.70099 | 0.05295 | 7.3759
| 8 | 0.10151 | 0.05295 | 807.9741 | 0.45762 | 51.2519 | 2556.1544 | 833.796 | 34.5111 | 0.52315 | 0.89777 | 0.039517 | 7.1946
| 9 | 0.36567 | 0.05295 | 271.7896 | 0.42611 | 34.5111 | 1406.259 | 569.4304 | 31.3113 | 0.55714 | 1.1123 | 0.05295 | 7.015
| 10 | 0.067814 | 0.039517 | 34.5111 | 0.30878 | 19.7321 | 1661.4518 | 807.9741 | 34.5111 | 0.45762 | 0.70099 | 0.067814 | 6.1431
| 11 | 0.039517 | 0.05295 | 13.2203 | 1.1123 | 13.2203 | 965.719 | 2401.1365 | 31.3113 | 0.36567 | 0.59193 | 0.084022 | 6.4867
| 12 | 0.039517 | 0.10151 | 2.5456 | 72.5149 | 10.3966 | 782.4596 | 993.3193 | 2.5456 | 0.36567 | 0.59193 | 0.084022 | 9.4797
| 13 | 0.027621 | 0.084022 | 1.2493 | 569.4304 | 7.8365 | 614.6075 | 661.0726 | 1.3921 | 0.33677 | 0.52315 | 0.067814 | 9.4797
| 14 | 0.039517 | 0.067814 | 1.0681 | 80.2051 | 3.5897 | 485.2442 | 569.4304 | 3.5897 | 0.33677 | 0.52315 | 0.067814 | 5.974
| 15 | 0.10151 | 0.067814 | 0.73887 | 3472.2283 | 3.5897 | 469.0215 | 661.0726 | 10.3966 | 0.36567 | 0.45762 | 0.067814 | 5.4775
| 16 | 2.0195 | 0.084022 | 0.55714 | 757.7769 | 17.1602 | 552.1888 | 637.436 | 17.1602 | 0.39545 | 0.42611 | 0.067814 | 5.4775
| 17 | 0.70099 | 0.25559 | 0.52315 | 591.6187 | 51.2519 | 1406.259 | 661.0726 | 19.7321 | 0.36567 | 0.42611 | 0.05295 | 5.6412
| 18 | 0.45762 | 0.70099 | 0.45762 | 14666.2366 | 41.2561 | 859.3755 | 569.4304 | 19.7321 | 0.42611 | 0.36567 | 0.05295 | 5.4775
| 19 | 0.36567 | 0.62751 | 0.36567 | 1121.7128 | 41.2561 | 518.309 | 485.2442 | 14.7261 | 0.55714 | 0.33677 | 0.05295 | 5.3156
| 20 | 0.28171 | 0.66387 | 0.33677 | 885.7988 | 965.719 | 437.2044 | 437.2044 | 14.7261 | 0.59193 | 0.25559 | 0.067814 | 4.9973
| 21 | 0.25559 | 0.48998 | 0.28171 | 732.878 | 469.0215 | 421.6137 | 393.5207 | 13.2203 | 0.55714 | 0.18315 | 0.05295 | 4.3833
| 22 | 0.20629 | 0.36567 | 0.23044 | 3649.9394 | 344.1977 | 501.6739 | 518.309 | 10.3966 | 0.45762 | 0.10151 | 0.039517 | 4.2346
| 23 | 0.18315 | 0.28171 | 0.18315 | 614.6075 | 297.4063 | 518.309 | 4536.2338 | 5.5591 | 0.45762 | 0.05295 | 0.039517 | 4.0878
| 24 | 0.18315 | 0.23044 | 0.12021 | 569.4304 | 569.4304 | 637.436 | 965.719 | 6.661 | 0.45762 | 0.05295 | 0.039517 | 4.0878
| 25 | 0.12021 | 0.33677 | 0.12021 | 1609.136 | 453.0077 | 469.0215 | 569.4304 | 5.5591 | 0.42611 | 0.084022 | 4.9973 | 4.6865
| 26 | 0.12021 | 0.52315 | 0.28171 | 782.4596 | 1506.4098 | 393.5207 | 485.2442 | 2.731 | 0.39545 | 0.084022 | 7.015 | 4.841
| 27 | 0.12021 | 17.1602 | 17.1602 | 993.3193 | 685.0323 | 393.5207 | 421.6137 | 2.3651 | 0.45762 | 0.067814 | 9.7818 | 4.6865
| 28 | 0.14008 | 0.85696 | 1.2493 | 1988.3797 | 453.0077 | 368.5481 | 380.9573 | 2.3651 | 7.8365 | 0.084022 | 16.1698 | 4.9973
| 29 | 0.28171 | 0.48998 | 0.85696 | 885.7988 | 380.9573 | 2478.1886 | 368.5481 | 2.1897 | 13.2203 | 0.14008 |  | 5.1555
| 30 | 0.18315 | 0.48998 | 1.0244 | 569.4304 | 1308.7275 | 938.413 | 344.1977 | 1.8545 | 4.534 | 0.14008 |  | 5.1555
| 31 | May: 0.45762; Jul: 315.5882; Aug: 993.3193; Oct: 332.2591; Dec: 2.1897; Jan: 0.084022; Mar: 5.1555
| Total | 6.6124 | 25.0714 | 1160.097 | 34937.259 | 9166.3372 | 30133.3539 | 30685.5517 | 851.447 | 42.7957 | 14.5076 | 39.3203 | 204.2057 | 107266.559 |  | 100Ton
| Mean | 0.22041 | 0.80876 | 38.6699 | 1127.0084 | 295.6883 | 1004.4451 | 989.8565 | 28.3816 | 1.3805 | 0.46799 | 1.4043 | 6.5873 | 3494.919
| Max | 2.0195 | 17.1602 | 807.9741 | 14666.2366 | 1506.4098 | 6031.444 | 4536.2338 | 308.8619 | 13.2203 | 1.5406 | 16.1698 | 14.7261 | 14666.2366
| Min | 0.00908 | 0.039517 | 0.12021 | 0.30878 | 3.5897 | 368.5481 | 332.2591 | 1.3921 | 0.33677 | 0.05295 | 0.039517 | 4.0878 | 0.00908
Note on J4: ใส่ค่า Log C Value
Note on M4: ใส่ค่า M Value
Note on J5: ใส่ค่า
Note on M5: ใส่ค่า
Note on O5: ใส่ค่า
Note on N6: (blank-tons/day,1-100 tons/day) ใส่ค่า 0, 1

## 2018
Station - |  | Ban Mang, Chiang Muan, Phayao,Y.24 | [9 empty] | Royal Irrigation |  |  |  |  | Y.1C
Stream - |  | Nam Pi | [9 empty] | Thailand |  |  |  |  | 2
River - |  | Yom | [9 empty] | Hydrology Division |  |  |  |  | Y1C
River System - |  | Yom | [6 empty] | Log C = | 0.52815 |  | M Value = | 1.601 |  |  |  | 2018
[9 empty] | ใช้สมการ log C ตั้งแต่ปี |  | 2017 | ถึงปี | 2018 | จ.น ตัวอย่าง | 26 | จุด
[7 empty] | Water Year 2018 | [5 empty] | Unit 0,1 = | 1
Suspended Sediment, in Hundred Tons per Day, Water Year April 1, 2018 to March 31, 2019
| Date | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Annual
| 1 | 0.015292 | 0.084169 | 0.12096 | 0.75884 | 1.278 | 2.0039 | 2.9204 | 0.11577 | 0.046388 | 0.029524 | 0.011481 | 0.0016183
| 2 | 0.016929 | 0.068056 | 0.084169 | 0.34213 | 0.9665 | 1.6003 | 1.4116 | 0.11067 | 0.050094 | 0.026997 | 0.019061 | 0.0019774
| 3 | 0.035927 | 0.11067 | 0.06049 | 0.13705 | 0.79567 | 1.7979 | 0.85123 | 0.10565 | 0.050094 | 0.027496 | 0.0041472 | 0.0016183
| 4 | 0.035927 | 0.19589 | 0.054552 | 0.16548 | 0.55201 | 6.2161 | 0.65235 | 0.11067 | 0.03374 | 0.022667 | 0.0043959 | 0.0017945
| 5 | 0.053264 | 0.075952 | 0.0552 | 0.091125 | 0.48868 | 5.3594 | 0.55201 | 0.10565 | 0.043977 | 0.01994 | 0.0097324 | 0.002565
| 6 | 0.063202 | 0.075952 | 0.1316 | 0.046388 | 0.55201 | 2.596 | 0.51998 | 0.10565 | 0.016102 | 0.018627 | 0.0054436 | 0.0036665
| 7 | 0.2588 | 0.059151 | 0.1463 | 0.047612 | 0.4581 | 1.8998 | 0.51998 | 0.10072 | 0.027496 | 0.01994 | 0.0034345 | 0.0032083
| 8 | 0.90817 | 0.042201 | 0.48868 | 0.043382 | 0.4581 | 4.1661 | 0.48868 | 0.10072 | 0.032134 | 0.026997 | 0.0062834 | 0.0029879
| 9 | 0.387 | 0.043977 | 0.22818 | 0.043382 | 0.55201 | 16.8106 | 0.29938 | 0.10072 | 0.030558 | 0.03374 | 0.0046499 | 0.0027734
| 10 | 0.1463 | 0.042201 | 0.10565 | 0.043977 | 0.85123 | 6.8795 | 0.27881 | 0.086464 | 0.010768 | 0.054552 | 0.0046499 | 0.002565
| 11 | 0.095876 | 0.041032 | 0.1316 | 8.6458 | 0.72268 | 4.5513 | 0.29938 | 0.10072 | 0.029524 | 0.046388 | 0.0039041 | 0.0017945
| 12 | 0.055851 | 0.050094 | 0.17541 | 1.698 | 0.51998 | 4.3588 | 0.387 | 0.12624 | 0.034282 | 0.043977 | 0.0057185 | 0.00098495
| 13 | 0.046388 | 0.068056 | 0.27881 | 1.2131 | 0.4102 | 5.9994 | 0.27881 | 0.11577 | 0.045781 | 0.042201 | 0.0068681 | 0.001287
| 14 | 0.043382 | 0.059151 | 0.20645 | 0.75884 | 0.34213 | 5.3594 | 0.23936 | 0.10565 | 0.044575 | 0.039302 | 0.0071677 | 0.0014491
| 15 | 0.040452 | 0.047612 | 0.1316 | 0.58476 | 0.23936 | 3.4348 | 0.20645 | 0.095876 | 0.047612 | 0.038164 | 0.0080949 | 0.001287
| 16 | 0.040452 | 0.043382 | 0.1316 | 0.4102 | 0.17541 | 4.5513 | 0.19589 | 0.086464 | 0.038164 | 0.038732 | 0.0084133 | 0.001287
| 17 | 0.043382 | 0.050094 | 0.10072 | 0.51998 | 2.4406 | 2.9204 | 0.18554 | 0.084169 | 0.035927 | 0.038164 | 0.0090639 | 0.0017945
| 18 | 0.051353 | 0.55201 | 0.21722 | 2.3284 | 72.8928 | 82.7745 | 0.15578 | 0.11067 | 0.041032 | 0.030558 | 0.0080949 | 0.002565
| 19 | 0.068056 | 0.23936 | 1.278 | 1.0262 | 10.9591 | 15.3345 | 0.11577 | 0.11067 | 0.051353 | 0.029524 | 0.0065733 | 0.0023628
| 20 | 0.387 | 0.12624 | 1.3442 | 1.0262 | 4.3588 | 5.5709 | 0.1316 | 0.095876 | 0.037039 | 0.025037 | 0.0054436 | 0.0034345
| 21 | 0.32049 | 0.078903 | 0.387 | 1.698 | 3.0893 | 3.7938 | 0.1316 | 0.078903 | 0.024556 | 0.019061 | 0.0049093 | 0.0023628
| 22 | 0.11577 | 0.049469 | 0.1316 | 8.2805 | 8.6458 | 4.1661 | 0.12096 | 0.073766 | 0.038732 | 0.014106 | 0.0046499 | 0.0019774
| 23 | 0.061164 | 0.06049 | 0.086464 | 4.1661 | 16.8106 | 5.3594 | 0.16548 | 0.065959 | 0.029012 | 0.0084133 | 0.0049093 | 0.0017945
| 24 | 0.051987 | 3.6111 | 0.070889 | 7.5678 | 7.2206 | 3.0893 | 1.2131 | 0.063202 | 0.028503 | 0.0059985 | 0.0041472 | 0.0016183
| 25 | 0.048847 | 1.1495 | 0.11577 | 4.5513 | 3.9767 | 1.6003 | 8.6458 | 0.061164 | 0.028503 | 0.007472 | 0.0041472 | 0.001287
| 26 | 0.054552 | 0.58476 | 0.27881 | 3.2619 | 2.7578 | 1.2131 | 0.85123 | 0.06049 | 0.024556 | 0.029524 | 0.0041472 | 0.001287
| 27 | 0.078903 | 0.51998 | 1.5048 | 1.7979 | 5.5709 | 1.0262 | 0.387 | 0.057822 | 0.016102 | 0.0077811 | 0.0034345 | 0.0019774
| 28 | 0.22818 | 0.387 | 2.3284 | 1.2131 | 18.3369 | 0.90817 | 0.2588 | 0.049469 | 0.025037 | 0.0065733 | 0.0023628 | 0.002565
| 29 | 0.4339 | 0.27881 | 3.9767 | 1.2131 | 5.7818 | 0.90817 | 0.20645 | 0.051353 | 0.020386 | 0.007472 |  | 0.001287
| 30 | 0.16548 | 0.27881 | 1.1495 | 1.4116 | 3.4348 | 1.7979 | 0.18554 | 0.050094 | 0.03374 | 0.0090639 |  | 0.0011322
| 31 | May: 0.22818; Jul: 2.3284; Aug: 2.3284; Oct: 0.1463; Dec: 0.015292; Jan: 0.0084133; Mar: 0.0011322
| Total | 4.3523 | 9.3022 | 15.5013 | 57.4204 | 177.967 | 208.0474 | 23.0022 | 2.687 | 1.0311 | 0.7764 | 0.17533 | 0.061442 | 500.324 |  | 100Ton
| Mean | 0.14508 | 0.30007 | 0.51671 | 1.8523 | 5.7409 | 6.9349 | 0.742 | 0.089566 | 0.03326 | 0.025045 | 0.0062617 | 0.001982 | 16.388
| Max | 0.90817 | 3.6111 | 3.9767 | 8.6458 | 72.8928 | 82.7745 | 8.6458 | 0.12624 | 0.051353 | 0.054552 | 0.019061 | 0.0036665 | 82.7745
| Min | 0.015292 | 0.041032 | 0.054552 | 0.043382 | 0.17541 | 0.90817 | 0.11577 | 0.049469 | 0.010768 | 0.0059985 | 0.0023628 | 0.00098495 | 0.00098495
หมายเหตุ ค่าปริมาณตะกอนรายวัน เป็นค่าสมมุติ ต้องคูณ 100 เป็นค่าจริง เช่น 1.73*100 = 173 ton/day
Note on J4: ใส่ค่า Log C Value
Note on M4: ใส่ค่า M Value
Note on J5: ใส่ค่า
Note on M5: ใส่ค่า
Note on O5: ใส่ค่า
Note on N6: (blank-tons/day,1-100 tons/day) ใส่ค่า 0, 1

## 2019
Station - |  | Ban Mang, Chiang Muan, Phayao,Y.24 | [9 empty] | Royal Irrigation
Stream - |  | Nam Pi | [9 empty] | Thailand
River - |  | Yom | [9 empty] | Hydrology Division
River System - |  | Yom | [6 empty] | Log C = | 0.33646 |  | M Value = | 1.673
[9 empty] | ใช้สมการ log C ตั้งแต่ปี |  | 2018 | ถึงปี | 2019 | จ.น ตัวอย่าง | 17 | จุด
[7 empty] | Water Year 2019 | [5 empty] | Unit 0,1 = | 0
Suspended Sediment, in Hundred Tons per Day, Water Year April 1, 2019 to March 31, 2020
| Date | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Annual
| 1 | 0.39278 | 0.14692 | 31.0913 | 1.0555 | 1021.8891 | 738.0279 | 5.9096 | 1.4939 | 0.42997 | 0.14692 | 0 | 0 | 1800.584
| 2 | 0.32253 | 0.13484 | 46.3061 | 1.0555 | 492.5442 | 592.8709 | 4.1341 | 0.97528 | 0.59191 | 0.15942 | 0 | 0 | 1139.0948
| 3 | 0.28952 | 0.11194 | 147.4613 | 0.89763 | 257.9176 | 707.9789 | 2.7816 | 0.82258 | 0.50834 | 0.090795 | 0 | 0 | 1118.8602
| 4 | 0.28952 | 0.090795 | 97.1245 | 0.68051 | 448.3146 | 395.4073 | 3.5408 | 1.0555 | 0.21341 | 0.038628 | 0 | 0 | 946.7556
| 5 | 0.32253 | 0.080897 | 75.8891 | 0.82258 | 2326.2901 | 190.0759 | 4.8137 | 0.89763 | 0.19932 | 0.00097827 | 0 | 0 | 2599.3928
| 6 | 0.32253 | 0.090795 | 40.9658 | 0.82258 | 768.5773 | 118.9596 | 7.5081 | 0.89763 | 0.18562 | 0.00097827 | 0 | 0 | 938.331
| 7 | 0.28952 | 0.10115 | 25.8795 | 0.75019 | 437.5199 | 78.4854 | 8.4895 | 2.5451 | 0.15942 | 0 | 0 | 0 | 554.2197
| 8 | 0.4685 | 0.080897 | 19.4546 | 0.68051 | 310.2421 | 50.4824 | 5.9096 | 2.0979 | 0.15942 | 0 | 0 | 0 | 389.5759
| 9 | 1.0555 | 0.080897 | 9.5188 | 0.54949 | 167.8078 | 56.9482 | 3.5408 | 2.0979 | 0.15942 | 0 | 0 | 0 | 241.7589
| 10 | 0.54949 | 0.090795 | 10.0511 | 0.42997 | 73.4777 | 33.4569 | 2.3172 | 1.4014 | 0.17232 | 0 | 0 | 0 | 121.9469
| 11 | 0.42997 | 0.090795 | 8.4895 | 0.35696 | 481.3301 | 24.903 | 3.2796 | 1.4014 | 0.19932 | 0 | 0 | 0 | 520.4807
| 12 | 0.35696 | 0.080897 | 7.9928 | 0.35696 | 620.8759 | 21.15 | 3.2796 | 1.3112 | 0.18562 | 0 | 0 | 0 | 655.59
| 13 | 0.28952 | 0.080897 | 7.9928 | 0.32253 | 565.3881 | 18.6715 | 5.9096 | 1.2235 | 0.13484 | 0 | 0 | 0 | 600.0133
| 14 | 0.28952 | 0.42997 | 5.5343 | 0.35696 | 405.7745 | 17.1444 | 3.5408 | 1.1383 | 0.071464 | 0 | 0 | 0 | 434.2802
| 15 | 0.25796 | 38.3951 | 5.1689 | 0.32253 | 310.2421 | 14.9531 | 6.6897 | 1.0555 | 0.062507 | 0 | 0 | 0 | 377.1474
| 16 | 0.24273 | 16.4006 | 3.8101 | 0.28952 | 678.4344 | 12.884 | 20.2506 | 0.89763 | 0.046074 | 0 | 0 | 0 | 733.2556
| 17 | 0.24273 | 1.2235 | 2.7816 | 0.25796 | 17593.6873 | 12.884 | 8.4895 | 0.82258 | 0.046074 | 0 | 0 | 0 | 17620.4353
| 18 | 0.22788 | 0.82258 | 1.6861 | 0.22788 | 1123.1139 | 48.3129 | 4.8137 | 0.68051 | 0.025369 | 0 | 0 | 0 | 1179.9107
| 19 | 0.18562 | 1.3112 | 1.4939 | 0.18562 | 395.4073 | 318.0317 | 3.2796 | 0.68051 | 0.00097827 | 0 | 0 | 0 | 720.5765
| 20 | 0.17232 | 1.0555 | 1.2235 | 0.17232 | 243.6882 | 68.6038 | 2.0979 | 0.68051 | 0 | 0 | 0 | 0 | 317.6941
| 21 | 0.15942 | 1.4014 | 0.97528 | 0.15942 | 6170.1816 | 29.9348 | 1.8875 | 0.59191 | 0 | 0 | 0 | 0 | 6205.2913
| 22 | 0.14692 | 1.4939 | 0.89763 | 78.4854 | 886.7129 | 25.8795 | 1.6861 | 0.63559 | 0.0099473 | 0 | 0 | 0 | 995.9479
| 23 | 0.15942 | 1.2235 | 0.82258 | 12.2949 | 310.2421 | 15.6701 | 1.4014 | 0.50834 | 0.0031195 | 0 | 0 | 0 | 342.3255
| 24 | 0.14692 | 5.9096 | 0.68051 | 15.6701 | 310.2421 | 10.0511 | 1.2235 | 0.54949 | 0.0031195 | 0 | 0 | 0 | 344.4765
| 25 | 0.13484 | 29.9348 | 0.63559 | 12.2949 | 538.4326 | 8.4895 | 1.3112 | 0.54949 | 0.025369 | 0 | 0 | 0 | 591.8083
| 26 | 0.14692 | 37.135 | 0.75019 | 6.6897 | 279.8662 | 7.0942 | 1.1383 | 0.50834 | 0.025369 | 0 | 0 | 0 | 333.3541
| 27 | 0.14692 | 39.672 | 0.97528 | 6.2948 | 196.483 | 6.6897 | 1.0555 | 0.50834 | 0.025369 | 0 | 0 | 0 | 251.8509
| 28 | 0.14692 | 17.9014 | 0.82258 | 7.0942 | 768.5773 | 9.5188 | 0.97528 | 0.4685 | 0.025369 | 0 | 0 | 0 | 805.5303
| 29 | 0.15942 | 19.4546 | 0.63559 | 6.2948 | 355.0263 | 7.0942 | 1.0555 | 0.42997 | 0.014449 | 0 | 0 | 0 | 390.1647
| 30 | 0.17232 | 71.0978 | 0.68051 | 7.0942 | 287.342 | 5.9096 | 0.97528 | 0.39278 | 0.025369 | 0 |  | 0 | 373.6898
| 31 | May: 52.6901; Jul: 592.8709; Aug: 437.5199; Oct: 1.6861; Dec: 0.080897; Jan: 0; Mar: 0 | 1084.8478
| Total | 8.5177 | 338.8152 | 557.7914 | 755.837 | 39263.1481 | 3646.5634 | 124.9714 | 29.3193 | 3.7898 | 0.43772 | 0 | 0 | 44729.1909 | 100Ton
| Mean | 0.28392 | 10.9295 | 18.593 | 24.3818 | 1266.5532 | 121.5521 | 4.0313 | 0.97731 | 0.12225 | 0.01412 | 0 | 0 | 1447.4386
| Max | 1.0555 | 71.0978 | 147.4613 | 592.8709 | 17593.6873 | 738.0279 | 20.2506 | 2.5451 | 0.59191 | 0.15942 | 0 | 0 | 17593.6873
| Min | 0.13484 | 0.080897 | 0.63559 | 0.15942 | 73.4777 | 5.9096 | 0.97528 | 0.39278 | 0 | 0 | 0 | 0 | 0
Note on J4: ใส่ค่า Log C Value
Note on M4: ใส่ค่า M Value
Note on J5: ใส่ค่า
Note on M5: ใส่ค่า
Note on O5: ใส่ค่า
Note on N6: (blank-tons/day,1-100 tons/day) ใส่ค่า 0, 1

## 2020
Station - |  | Ban Mang, Chiang Muan, Phayao,Y.24 | [9 empty] | Royal Irrigation
Stream - |  | Nam Pi | [9 empty] | Thailand
River - |  | Yom | [9 empty] | Hydrology Division
River System - |  | Yom | [6 empty] | Log C = | 0.54357 |  | M Value = | 1.815
[9 empty] | ใช้สมการ log C ตั้งแต่ปี |  | 2020 | ถึงปี | 2020 | จ.น ตัวอย่าง | 25 | จุด
[7 empty] | Water Year 2020 | [5 empty] | Unit 0,1 = | 0
Suspended Sediment, in Tons per Day, Water Year April 1, 2020 to March 31, 2021
| Date | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Annual
| 1 | 0 | 0 | 0 | 0.1716 | 0.035701 | 65.1294 | 42.8903 | 26.9334 | 4.3642 | 0 | 0 | 0 | 139.5246
| 2 | 0 | 0 | 0 | 0.04421 | 1201.9491 | 57.3299 | 57.3299 | 23.2458 | 4.3642 | 0 | 0 | 0 | 1344.2632
| 3 | 0 | 0 | 0 | 0.035701 | 2178.3758 | 48.1106 | 45.4668 | 19.8038 | 4.3642 | 0 | 0 | 0 | 2296.1569
| 4 | 0 | 0 | 31.0319 | 0.035701 | 1795.5512 | 37.9408 | 37.9408 | 18.1761 | 3.886 | 0 | 0 | 0 | 1924.5625
| 5 | 0 | 0 | 198.5959 | 0.028017 | 50.8212 | 61.1738 | 31.0319 | 48.1106 | 3.005 | 0 | 0 | 0 | 392.7665
| 6 | 0 | 0 | 37.9408 | 0.015213 | 538.9005 | 35.5687 | 40.3815 | 13.6732 | 3.005 | 0 | 0 | 0 | 669.485
| 7 | 0 | 0 | 37.9408 | 0.035701 | 206.8458 | 33.2655 | 33.2655 | 26.9334 | 2.227 | 0 | 0 | 0 | 340.5138
| 8 | 0 | 0 | 31.0319 | 0.035701 | 48.1106 | 159.6262 | 37.9408 | 28.8681 | 2.227 | 0 | 0 | 0 | 307.8403
| 9 | 0 | 0 | 35.5687 | 0.015213 | 25.0591 | 361.4671 | 28.8681 | 19.8038 | 2.227 | 0 | 0 | 0 | 473.009
| 10 | 0 | 0 | 31.0319 | 0.015213 | 6.7764 | 282.7569 | 21.4938 | 26.9334 | 2.227 | 0 | 0 | 0 | 371.2346
| 11 | 0 | 0 | 33.2655 | 0.0060193 | 2.227 | 304.09 | 19.8038 | 11.4226 | 2.227 | 0 | 0 | 0 | 373.042
| 12 | 0 | 0 | 26.9334 | 0.010146 | 1.5552 | 242.1941 | 13.6732 | 28.8681 | 2.227 | 0 | 0 | 0 | 315.4612
| 13 | 0 | 0 | 21.4938 | 0.010146 | 11.4226 | 167.114 | 12.301 | 8.9641 | 2.227 | 0 | 0 | 0 | 223.5327
| 14 | 0 | 0 | 18.1761 | 0.010146 | 11.4226 | 122.6324 | 12.301 | 11.4226 | 1.8776 | 0 | 0 | 0 | 177.8424
| 15 | 0 | 0 | 16.6114 | 0.015213 | 73.3725 | 95.8876 | 15.1102 | 8.2044 | 1.5552 | 0 | 0 | 0 | 210.7566
| 16 | 0 | 0 | 16.6114 | 0.02118 | 252.0702 | 69.1958 | 18.1761 | 8.9641 | 1.5552 | 0 | 0 | 0 | 366.594
| 17 | 0 | 0 | 19.8038 | 0.010146 | 61.1738 | 73.3725 | 57.3299 | 11.4226 | 1.2603 | 0 | 0 | 0 | 224.3731
| 18 | 0 | 0 | 19.8038 | 0.010146 | 28.8681 | 50.8212 | 35.5687 | 8.2044 | 1.2603 | 0 | 0 | 0 | 144.5368
| 19 | 0 | 0 | 18.1761 | 0.0060193 | 57.3299 | 45.4668 | 26.9334 | 5.4721 | 1.2603 | 0 | 0 | 0 | 154.6447
| 20 | 0 | 0 | 16.6114 | 0.0060193 | 26.9334 | 57.3299 | 26.9334 | 8.9641 | 1.2603 | 0 | 0 | 0 | 138.0386
| 21 | 0 | 0 | 16.6114 | 7.4751 | 16350.4606 | 349.3352 | 33.2655 | 8.2044 | 1.5552 | 0 | 0 | 0 | 16766.9075
| 22 | 0 | 0 | 13.6732 | 9.7539 | 6493.7608 | 252.0702 | 26.9334 | 7.4751 | 1.5552 | 0 | 0 | 0 | 6805.2217
| 23 | 0 | 0 | 33.2655 | 0.60378 | 3104.6868 | 198.5959 | 23.2458 | 6.7764 | 1.5552 | 0 | 0 | 0 | 3368.7295
| 24 | 0 | 0 | 100.9999 | 0.15556 | 1651.7727 | 538.9005 | 12.301 | 6.7764 | 1.5552 | 0 | 0 | 0 | 2312.4613
| 25 | 0 | 0 | 8.2044 | 0.074522 | 2439.4781 | 206.8458 | 15.1102 | 6.7764 | 0 | 0 | 0 | 0 | 2676.4895
| 26 | 0 | 0 | 8.2044 | 0.04421 | 304.09 | 140.0831 | 16.6114 | 6.1086 | 0 | 0 | 0 | 0 | 475.1419
| 27 | 0 | 0 | 1131.2694 | 0.028017 | 182.5502 | 91.169 | 12.301 | 6.1086 | 0 | 0 | 0 | 0 | 1423.4262
| 28 | 0 | 0 | 100.9999 | 0.015213 | 86.5577 | 122.6324 | 11.4226 | 5.4721 | 0 | 0 | 0 | 0 | 327.0999
| 29 | 0 | 0 | 8.9641 | 0.010146 | 111.5807 | 69.1958 | 13.6732 | 4.8673 | 0 | 0 |  | 0 | 208.2913
| 30 | 0 | 0 | 4.3642 | 0.04421 | 293.3364 | 45.4668 | 19.8038 | 4.3642 | 0 | 0 |  | 0 | 367.3797
| 31 | May: 0; Jul: 0.04421; Aug: 91.169; Oct: 26.9334; Dec: 0; Jan: 0; Mar: 0 | 118.1466
| Total | 0 | 0 | 2037.1853 | 18.7863 | 37688.2438 | 4384.7683 | 826.3418 | 427.3204 | 54.828 | 0 | 0 | 0 | 45437.4739 |  | Ton
| Mean | 0 | 0 | 67.9062 | 0.60601 | 1215.7498 | 146.1589 | 26.6562 | 14.244 | 1.7686 | 0 | 0 | 0 | 1473.0898
| Max | 0 | 0 | 1131.2694 | 9.7539 | 16350.4606 | 538.9005 | 57.3299 | 48.1106 | 4.3642 | 0 | 0 | 0 | 16350.4606
| Min | 0 | 0 | 0 | 0.0060193 | 0.035701 | 33.2655 | 11.4226 | 4.3642 | 0 | 0 | 0 | 0 | 0
Note on J4: ใส่ค่า Log C Value
Note on J5: ใส่ค่า
Note on M5: ใส่ค่า
Note on N6: (blank-tons/day,1-100 tons/day) ใส่ค่า 0, 1
Note on M4: ใส่ค่า M Value
Note on O5: ใส่ค่า

## 2021
Station - |  | Ban Mang, Chiang Muan, Phayao,Y.24 | [9 empty] | Royal Irrigation
Stream - |  | Nam Pi | [9 empty] | Thailand
River - |  | Yom | [9 empty] | Hydrology Division
River System - |  | Yom | [6 empty] | Log C = | 0.36986 |  | M Value = | 1.7955
[9 empty] | ใช้สมการ log C ตั้งแต่ปี |  | 2021 | ถึงปี | 2021 | จ.น ตัวอย่าง | 26 | จุด
[7 empty] | Water Year 2021 | [5 empty] | Unit 0,1 = | 0
Suspended Sediment, in Tons per Day, Water Year April 1, 2021 to March 31, 2022
| Date | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Annual
| 1 | 0.8011 | 50.0249 | 2.5145 | 1.3981 | 9.4184 | 5.5725 | 73.8019 | 685.8814 | 0.20866 | 1.2671 | 1.0813 | 1.0516 | 833.0214
| 2 | 0.77514 | 4.2878 | 1.2352 | 1.7875 | 4.9115 | 121.1176 | 111.6238 | 230.5255 | 0.2698 | 1.2671 | 1.0223 | 0.85416 | 479.6775
| 3 | 0.74955 | 2.7809 | 0.8011 | 1.5699 | 3.6506 | 59.7146 | 371.4563 | 141.645 | 0.28616 | 1.2671 | 0.96477 | 0.82744 | 585.7133
| 4 | 0.72435 | 2.0177 | 0.45223 | 1.2352 | 3.3491 | 18.9174 | 116.3278 | 85.2257 | 0.49364 | 1.2352 | 0.93656 | 0.82744 | 231.7423
| 5 | 0.72435 | 1.0813 | 1.3981 | 1.3981 | 3.3491 | 14.6942 | 66.5931 | 59.7146 | 0.72435 | 1.0516 | 0.88125 | 0.77514 | 152.3852
| 6 | 0.88125 | 0.6751 | 1.7875 | 35.4494 | 2.5145 | 13.3923 | 40.0609 | 44.9204 | 1.4657 | 0.62738 | 0.82744 | 0.8011 | 143.403
| 7 | 0.90872 | 0.55874 | 2.5145 | 3.3491 | 1.5699 | 16.0494 | 188.0823 | 35.4494 | 1.5001 | 0.39316 | 0.8011 | 0.90872 | 252.0851
| 8 | 0.90872 | 0.8011 | 13.3923 | 3.0591 | 1.7875 | 10.2929 | 66.5931 | 29.005 | 1.5001 | 11.2016 | 0.74955 | 0.65105 | 139.9421
| 9 | 0.93656 | 0.55874 | 9.4184 | 42.4599 | 1.7875 | 85.2257 | 42.4599 | 21.9923 | 1.5001 | 56.4004 | 0.69953 | 0.49364 | 263.9326
| 10 | 0.93656 | 0.45223 | 4.9115 | 17.4573 | 2.0177 | 136.2526 | 37.7239 | 18.9174 | 1.5348 | 44.9204 | 0.62738 | 0.39316 | 266.145
| 11 | 0.93656 | 0.35583 | 3.3491 | 5.5725 | 1.5699 | 77.5288 | 443.7889 | 16.0494 | 1.4657 | 14.6942 | 0.58123 | 0.2698 | 566.162
| 12 | 0.90872 | 0.35583 | 2.5145 | 3.3491 | 1.3981 | 26.9849 | 381.4399 | 13.3923 | 1.2352 | 1.0516 | 0.60411 | 0.22329 | 433.4575
| 13 | 0.90872 | 0.2698 | 2.5145 | 6.2701 | 2.0177 | 21.9923 | 147.1298 | 11.2016 | 1.2037 | 1.2037 | 0.65105 | 0.20866 | 195.5716
| 14 | 0.93656 | 0.22329 | 2.5145 | 2.5145 | 2.26 | 16.0494 | 81.3369 | 10.2929 | 1.2993 | 1.2352 | 0.6751 | 0.18073 | 119.5184
| 15 | 0.93656 | 0.6751 | 2.5145 | 5.5725 | 2.26 | 31.0895 | 63.1123 | 9.4184 | 1.3981 | 1.2671 | 0.6751 | 0.13028 | 119.0494
| 16 | 0.96477 | 0.6751 | 47.4423 | 7.004 | 3.9635 | 25.2706 | 47.4423 | 7.7736 | 1.4657 | 1.2993 | 0.65105 | 0.11881 | 144.0709
| 17 | 59.7146 | 0.2698 | 201.8047 | 2.7809 | 23.6062 | 20.4292 | 47.4423 | 7.004 | 1.4317 | 1.3319 | 0.60411 | 0.19448 | 366.6138
| 18 | 98.0309 | 0.22329 | 26.9849 | 2.26 | 17.4573 | 14.6942 | 44.9204 | 4.9115 | 1.3981 | 1.5001 | 0.53664 | 0.23836 | 213.1559
| 19 | 26.9849 | 0.25386 | 12.1441 | 1.7875 | 40.0609 | 12.1441 | 29.005 | 5.5725 | 1.4317 | 1.5001 | 0.53664 | 0.23836 | 131.6598
| 20 | 16.0494 | 0.6751 | 6.2701 | 1.2352 | 66.5931 | 66.5931 | 21.9923 | 4.2878 | 1.5001 | 1.4657 | 0.90872 | 0.28616 | 187.857
| 21 | 16.0494 | 1.5699 | 1.5699 | 0.45223 | 53.1703 | 111.6238 | 53.1703 | 4.2878 | 1.2671 | 1.4657 | 0.90872 | 0.28616 | 245.8213
| 22 | 10.2929 | 1.2352 | 1.5699 | 0.55874 | 25.2706 | 245.5174 | 568.8143 | 4.2878 | 1.3319 | 1.5001 | 0.8011 | 0.23836 | 861.4182
| 23 | 8.5785 | 0.45223 | 1.2352 | 0.8011 | 16.0494 | 181.9604 | 2165.7306 | 3.6506 | 1.5001 | 1.4317 | 0.74955 | 0.20866 | 2382.3482
| 24 | 7.004 | 0.6751 | 1.2352 | 1.0813 | 7.004 | 70.1565 | 278.1447 | 3.3491 | 1.5001 | 1.2352 | 0.60411 | 0.30294 | 372.2922
| 25 | 5.5725 | 56.4004 | 1.3981 | 3.0591 | 35.4494 | 98.0309 | 107.0061 | 2.5145 | 1.4657 | 1.1418 | 0.8011 | 0.43214 | 313.2717
| 26 | 12.1441 | 23.6062 | 0.93656 | 44.9204 | 20.4292 | 77.5288 | 66.5931 | 2.7809 | 1.4657 | 1.0813 | 1.1114 | 0.35583 | 252.9537
| 27 | 37.7239 | 3.6506 | 0.8011 | 17.4573 | 14.6942 | 130.9532 | 50.0249 | 2.7809 | 1.5001 | 1.2671 | 1.1726 | 0.28616 | 262.312
| 28 | 8.5785 | 606.7577 | 0.55874 | 9.4184 | 10.2929 | 1050.7905 | 35.4494 | 2.5145 | 1.4657 | 1.3648 | 1.0516 | 0.2698 | 1728.5126
| 29 | 1.5699 | 47.4423 | 2.5145 | 2.5145 | 5.5725 | 237.9691 | 169.9868 | 2.7809 | 1.3319 | 1.2352 |  | 0.96477 | 473.8822
| 30 | 44.9204 | 20.4292 | 7.004 | 9.4184 | 3.3491 | 141.645 | 978.9161 | 0.8011 | 1.3319 | 1.2037 |  | 1.1726 | 1210.1915
| 31 | May: 9.4184; Jul: 50.0249; Aug: 3.3491; Oct: 1246.3716; Dec: 1.2993; Jan: 1.1418; Mar: 0.77514 | 1312.3801
| Total | 367.1523 | 838.8526 | 365.3017 | 287.2164 | 390.1731 | 3140.1811 | 8142.5411 | 1472.9287 | 38.7725 | 160.2483 | 22.2151 | 14.9649 | 15240.5478 |  | Ton
| Mean | 12.2384 | 27.0598 | 12.1767 | 9.265 | 12.5862 | 104.6727 | 262.6626 | 49.0976 | 1.2507 | 5.1693 | 0.7934 | 0.48274 | 497.4553
| Max | 98.0309 | 606.7577 | 201.8047 | 50.0249 | 66.5931 | 1050.7905 | 2165.7306 | 685.8814 | 1.5348 | 56.4004 | 1.1726 | 1.1726 | 2165.7306
| Min | 0.72435 | 0.22329 | 0.45223 | 0.45223 | 1.3981 | 5.5725 | 21.9923 | 0.8011 | 0.20866 | 0.39316 | 0.53664 | 0.11881 | 0.11881
Note on J4: ใส่ค่า Log C Value
Note on M4: ใส่ค่า M Value
Note on J5: ใส่ค่า
Note on M5: ใส่ค่า
Note on O5: ใส่ค่า
Note on N6: (blank-tons/day,1-100 tons/day) ใส่ค่า 0, 1

## 2022
Station - |  | Ban Mang, Chiang Muan, Phayao,Y.24 | [9 empty] | Royal Irrigation
Stream - |  | Nam Pi | [9 empty] | Thailand
River - |  | Yom | [9 empty] | Hydrology Division
River System - |  | Yom | [6 empty] | Log C = | 0.35365 |  | M Value = | 1.7799
[9 empty] | ใช้สมการ log C ตั้งแต่ปี |  | 2022 | ถึงปี | 2022 | จ.น ตัวอย่าง | 28 | จุด
[7 empty] | Water Year 2022 | [5 empty] | Unit 0,1 = | 0
Suspended Sediment, in Tons per Day, Water Year April 1, 2022 to March 31, 2023
| Date | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Annual
| 1 | 5.1536 | 2.0606 | 2.675 | 283.2097 | 19.9355 | 127.8815 | 263.4911 | 9.186 | 4.7568 | 0.90945 | 0.26483 | 0.21955 | 719.7435
| 2 | 2.4624 | 2.9855 | 3.6507 | 121.5891 | 28.67 | 32.9622 | 6212.3662 | 8.456 | 4.7568 | 0.90945 | 0.26483 | 0.20529 | 6419.2783
| 3 | 0.8301 | 18.7004 | 2.9855 | 26.6228 | 154.9422 | 37.5145 | 1712.422 | 9.186 | 4.7568 | 1.0487 | 0.17803 | 0.20529 | 1969.3921
| 4 | 1.3529 | 5.9889 | 1.5176 | 14.1105 | 103.5526 | 18.7004 | 1090.1334 | 9.186 | 4.3739 | 0.90945 | 0.15248 | 0.20529 | 1250.1834
| 5 | 1.6905 | 2.9855 | 0.42246 | 7.7527 | 42.3227 | 19.9355 | 904.8346 | 9.9423 | 2.9855 | 0.90945 | 0.10669 | 0.20529 | 994.093
| 6 | 1.0487 | 2.0606 | 0.61135 | 5.9889 | 23.8465 | 50.0068 | 542.6828 | 9.186 | 1.6905 | 0.90945 | 0.10669 | 0.20529 | 638.3435
| 7 | 0.545 | 2.4624 | 0.545 | 303.549 | 26.6228 | 696.7488 | 263.4911 | 7.7527 | 1.1966 | 0.90945 | 0.10669 | 0.19144 | 1304.1209
| 8 | 0.23423 | 3.6507 | 0.8301 | 273.2724 | 972.5487 | 514.5999 | 154.9422 | 7.0762 | 1.0487 | 0.90945 | 0.17803 | 0.17803 | 1929.4687
| 9 | 0.23423 | 2.9855 | 1.8716 | 216.9476 | 763.4625 | 421.5052 | 200.5939 | 6.427 | 0.90945 | 0.90945 | 0.10669 | 0.17803 | 1616.131
| 10 | 1.8716 | 4.0051 | 0.68101 | 303.549 | 263.4911 | 200.5939 | 192.6284 | 6.427 | 0.90945 | 1.1966 | 0.10669 | 0.17803 | 975.6378
| 11 | 4.0051 | 3.3108 | 0.545 | 293.3021 | 154.9422 | 500.8042 | 115.4361 | 5.5644 | 0.68101 | 1.0487 | 0.10669 | 0.20529 | 1079.9515
| 12 | 2.2576 | 3.3108 | 0.48202 | 140.8817 | 1985.71 | 556.9689 | 71.3522 | 5.1536 | 0.61135 | 0.75394 | 0.10669 | 0.20529 | 2767.794
| 13 | 1.3529 | 17.5001 | 0.42246 | 121.5891 | 1163.4918 | 2326.7259 | 58.7484 | 5.5644 | 0.48202 | 0.61135 | 0.10669 | 0.21955 | 3696.8146
| 14 | 1.1966 | 12.3668 | 0.48202 | 313.9498 | 384.1168 | 1238.9351 | 58.7484 | 5.5644 | 0.75394 | 0.61135 | 0.10669 | 0.19144 | 2017.0232
| 15 | 1.6905 | 6.427 | 0.36636 | 127.8815 | 192.6284 | 904.8346 | 50.0068 | 5.5644 | 0.75394 | 0.75394 | 0.10669 | 0.19144 | 1291.2055
| 16 | 2.0606 | 7.0762 | 0.545 | 58.7484 | 192.6284 | 384.1168 | 37.5145 | 7.0762 | 0.8301 | 0.90945 | 0.086509 | 0.20529 | 691.7974
| 17 | 0.8301 | 868.5073 | 0.48202 | 28.67 | 109.4237 | 200.5939 | 26.6228 | 5.9889 | 1.3529 | 1.6905 | 0.10669 | 0.20529 | 1244.4741
| 18 | 1.5176 | 263.4911 | 0.42246 | 127.8815 | 61.7986 | 127.8815 | 18.7004 | 5.9889 | 1.3529 | 0.90945 | 0.086509 | 0.20529 | 610.2362
| 19 | 1.6905 | 55.7661 | 0.48202 | 39.8868 | 52.852 | 127.8815 | 18.7004 | 8.456 | 2.0606 | 0.61135 | 0.086509 | 0.20529 | 308.6792
| 20 | 1.5176 | 17.5001 | 0.545 | 408.8735 | 42.3227 | 71.3522 | 18.7004 | 7.0762 | 2.2576 | 0.3138 | 0.17803 | 0.20529 | 570.8423
| 21 | 1.3529 | 14.1105 | 0.545 | 97.8239 | 4793.9393 | 154.9422 | 14.1105 | 7.0762 | 2.2576 | 0.90945 | 0.10669 | 0.17803 | 5087.3524
| 22 | 1.1966 | 74.6697 | 0.61135 | 64.9162 | 5434.2237 | 64.9162 | 15.2048 | 7.0762 | 2.2576 | 0.36636 | 0.17803 | 0.16504 | 5665.7818
| 23 | 1.6905 | 127.8815 | 0.26483 | 127.8815 | 648.4757 | 121.5891 | 86.7975 | 5.9889 | 2.0606 | 0.42246 | 0.21955 | 0.16504 | 1123.4372
| 24 | 1.1966 | 37.5145 | 0.23423 | 200.5939 | 253.8663 | 154.9422 | 32.9622 | 5.1536 | 1.8716 | 0.26483 | 0.21955 | 0.16504 | 688.9844
| 25 | 0.75394 | 21.205 | 0.26483 | 86.7975 | 303.549 | 200.5939 | 21.205 | 5.1536 | 1.5176 | 0.26483 | 0.21955 | 0.16504 | 641.6899
| 26 | 1.0487 | 9.186 | 0.23423 | 30.7833 | 140.8817 | 235.0893 | 17.5001 | 5.1536 | 0.90945 | 0.26483 | 0.21955 | 0.16504 | 441.4358
| 27 | 0.90945 | 2.2576 | 0.545 | 32.9622 | 92.2385 | 115.4361 | 21.205 | 4.7568 | 1.0487 | 0.17803 | 0.21955 | 0.16504 | 271.9219
| 28 | 0.75394 | 4.3739 | 0.42246 | 15.2048 | 68.1009 | 71.3522 | 18.7004 | 4.3739 | 1.1966 | 0.17803 | 0.21955 | 0.16504 | 185.0416
| 29 | 0.68101 | 2.9855 | 0.42246 | 5.9889 | 42.3227 | 50.0068 | 17.5001 | 4.7568 | 0.8301 | 0.17803 |  | 0.17803 | 125.8502
| 30 | 0.68101 | 3.6507 | 140.8817 | 5.5644 | 19.9355 | 39.8868 | 13.2261 | 5.9889 | 0.8301 | 0.20529 |  | 0.17803 | 231.0284
| 31 | May: 4.0051; Jul: 30.7833; Aug: 19.9355; Oct: 11.533; Dec: 0.8301; Jan: 0.26483; Mar: 0.17803 | 67.5298
| Total | 43.8071 | 1604.9813 | 164.9907 | 3917.5557 | 18556.7777 | 9769.298 | 12282.0607 | 200.3008 | 54.1306 | 21.2317 | 4.2513 | 5.8783 | 46625.2637 |  | Ton
| Mean | 1.4602 | 51.7736 | 5.4997 | 126.3728 | 598.6057 | 325.6433 | 396.1955 | 6.6767 | 1.7461 | 0.68489 | 0.15183 | 0.18962 | 1515
| Max | 5.1536 | 868.5073 | 140.8817 | 408.8735 | 5434.2237 | 2326.7259 | 6212.3662 | 9.9423 | 4.7568 | 1.6905 | 0.26483 | 0.21955 | 6212.3662
| Min | 0.23423 | 2.0606 | 0.23423 | 5.5644 | 19.9355 | 18.7004 | 11.533 | 4.3739 | 0.48202 | 0.17803 | 0.086509 | 0.16504 | 0.086509
Note on J4: ใส่ค่า Log C Value
Note on J5: ใส่ค่า
Note on M5: ใส่ค่า
Note on N6: (blank-tons/day,1-100 tons/day) ใส่ค่า 0, 1
Note on M4: ใส่ค่า M Value
Note on O5: ใส่ค่า